## Overview
TITLE | U.S. Solar Photovoltaic System and Energy Storage Cost Benchmark: Q1 2020
AUTHORS | David Feldman, Vignesh Ramasamy, Robert Margolis
VERSION | Final Version. NREL/TP-6A20-77324
DATE | January, 2021
CONTACT | Vignesh Ramasamy, Researcher III - TEA
David Feldman, Senior Economic & Financial Analyst
vignesh.ramasamy@nrel.gov, david.feldman@nrel.gov
http://www.nrel.gov/
Disclaimer | These cost model results (“Data”) are provided by the National Renewable Energy Laboratory (“NREL”), which is operated by the Alliance for Sustainable Energy LLC (“Alliance”) for the U.S. Department of Energy (the “DOE”). It is recognized that disclosure of these Data is provided under the following conditions and warnings: (1) these Data have been prepared for reference purposes only; (2) these Data consist of forecasts, estimates or assumptions made on a best-efforts basis, based upon present expectations; and (3) these Data were prepared with existing information and are subject to change without notice. The names DOE/NREL/ALLIANCE shall not be used in any representation, advertising, publicity or other manner whatsoever to endorse or promote any entity that adopts or uses these Data. DOE/NREL/ALLIANCE shall not provide any support, consulting, training or assistance of any kind with regard to the use of these Data or any updates, revisions or new versions of these Data. YOU AGREE TO INDEMNIFY DOE/NREL/ALLIANCE, AND ITS AFFILIATES, OFFICERS, AGENTS, AND EMPLOYEES AGAINST ANY CLAIM OR DEMAND, INCLUDING REASONABLE ATTORNEYS' FEES, RELATED TO YOUR USE, RELIANCE, OR ADOPTION OF THESE DATA FOR ANY PURPOSE WHATSOEVER. THESE DATA ARE PROVIDED BY DOE/NREL/ALLIANCE "AS IS" AND ANY EXPRESS OR IMPLIED WARRANTIES, INCLUDING BUT NOT LIMITED TO, THE IMPLIED WARRANTIES OF MERCHANTABILITY AND FITNESS FOR A PARTICULAR PURPOSE ARE EXPRESSLY DISCLAIMED. IN NO EVENT SHALL DOE/NREL/ALLIANCE BE LIABLE FOR ANY SPECIAL, INDIRECT OR CONSEQUENTIAL DAMAGES OR ANY DAMAGES WHATSOEVER, INCLUDING BUT NOT LIMITED TO CLAIMS ASSOCIATED WITH THE LOSS OF DATA OR PROFITS, WHICH MAY RESULT FROM AN ACTION IN CONTRACT, NEGLIGENCE OR OTHER TORTIOUS CLAIM THAT ARISES OUT OF OR IN CONNECTION WITH THE USE OR PERFORMANCE OF THESE DATA.

## Figures ES-1 and ES-2
2019 $ REAL
| 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 |  | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 |  | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020
| Utility ground mount (Fixed axis) | Utility ground mount (Fixed axis) | Utility ground mount (Fixed axis) | Utility ground mount (Fixed axis) | Utility ground mount (Fixed axis) | Utility ground mount (Fixed axis) | Utility ground mount (Fixed axis) | Utility ground mount (Fixed axis) | Utility ground mount (Fixed axis) |  | Utility ground mount (Fixed axis) | Utility ground mount (one-axis tracker) | Utility ground mount (one-axis tracker) | Utility ground mount (one-axis tracker) | Utility ground mount (one-axis tracker) | Utility ground mount (one-axis tracker) | Utility ground mount (one-axis tracker) | Utility ground mount (one-axis tracker) | Utility ground mount (one-axis tracker) | Utility ground mount (one-axis tracker) | Utility ground mount (one-axis tracker) | Utility ground mount (one-axis tracker) |  | Commercial Rooftop | Commercial Rooftop | Commercial Rooftop | Commercial Rooftop | Commercial Rooftop | Commercial Rooftop | Commercial Rooftop | Commercial Rooftop | Commercial Rooftop | Commercial Rooftop | Commercial Rooftop |  | Residential | Residential | Residential | Residential | Residential | Residential | Residential | Residential | Residential | Residential | Residential
Module | 2.5107 | 2.2424 | 1.1646 | 0.69912 | 0.71253 | 0.70759 | 0.68926 | 0.3676 | 0.48295 | 0.39426 | 0.37618 | 2.5107 | 2.2424 | 1.1646 | 0.69912 | 0.71253 | 0.70759 | 0.68926 | 0.3676 | 0.48295 | 0.39426 | 0.37618 | Module | 2.6362 | 2.2424 | 1.1646 | 0.69912 | 0.76734 | 0.74025 | 0.68926 | 0.3676 | 0.48295 | 0.39426 | 0.37618 | Module | 2.6703 | 2.2424 | 1.1646 | 0.80399 | 0.7728 | 0.75839 | 0.68926 | 0.3676 | 0.48295 | 0.39426 | 0.37618
Inverter | 0.28386 | 0.33578 | 0.28267 | 0.1942 | 0.13154 | 0.11975 | 0.1077 | 0.063018 | 0.045333 | 0.029317 | 0.02168 | 0.28386 | 0.33578 | 0.28267 | 0.1942 | 0.13154 | 0.11975 | 0.11847 | 0.064634 | 0.047425 | 0.030327 | 0.022175 | Inverter | 0.37849 | 0.43797 | 0.32507 | 0.2913 | 0.1732 | 0.14152 | 0.14001 | 0.1096 | 0.082204 | 0.054644 | 0.044592 | Inverter | 0.48032 | 0.71536 | 0.48054 | 0.45356 | 0.33982 | 0.31569 | 0.23116 | 0.2032 | 0.21578 | 0.22971 | 0.21722
Hardware BOS - Structural and Electrical Components | 0.44746 | 0.39173 | 0.36959 | 0.36045 | 0.37897 | 0.34835 | 0.21963 | 0.20951 | 0.17781 | 0.18804 | 0.17432 | 0.77863 | 0.68371 | 0.59396 | 0.51626 | 0.4441 | 0.41367 | 0.27147 | 0.25902 | 0.2242 | 0.23303 | 0.21781 | BOS | 0.743 | 0.75898 | 0.71505 | 0.70179 | 0.45054 | 0.39516 | 0.35042 | 0.31498 | 0.25689 | 0.25597 | 0.2444 | BOS | 0.58073 | 0.53352 | 0.50264 | 0.54414 | 0.50425 | 0.35826 | 0.39292 | 0.37545 | 0.31854 | 0.28755 | 0.27445
Soft Costs - Install Labor | 0.50073 | 0.45216 | 0.4262 | 0.41555 | 0.23568 | 0.20683 | 0.16124 | 0.13159 | 0.12232 | 0.097215 | 0.093991 | 0.64267 | 0.56896 | 0.53951 | 0.51841 | 0.25213 | 0.21772 | 0.17469 | 0.14263 | 0.13339 | 0.10567 | 0.10216 | Labor | 0.33072 | 0.33784 | 0.31828 | 0.31238 | 0.2302 | 0.20357 | 0.20181 | 0.17706 | 0.12331 | 0.16307 | 0.15876 | Labor | 1.1695 | 0.73976 | 0.69695 | 0.86584 | 0.35078 | 0.35957 | 0.31993 | 0.31926 | 0.27744 | 0.24699 | 0.24246
Soft Costs - Others (PII, Land Acquisition, Transmission Line, Sales Tax, Overhead, and Profit) | 1.0054 | 0.66112 | 0.52826 | 0.45799 | 0.51382 | 0.5443 | 0.35343 | 0.30794 | 0.25953 | 0.23431 | 0.22463 | 1.442 | 0.95764 | 0.70435 | 0.57043 | 0.70691 | 0.6205 | 0.3719 | 0.32841 | 0.27884 | 0.25121 | 0.24089 | Soft Costs - Other (PII, Sales Tax, Overhead, and Profit) | 1.4817 | 1.405 | 1.042 | 0.89442 | 1.2694 | 0.91796 | 0.91282 | 0.97396 | 0.82204 | 0.84357 | 0.81807 | Soft Costs - Other (PII, Sales Tax, Overhead, and Profit) | 2.625 | 2.3893 | 1.8269 | 1.4227 | 1.6333 | 1.5723 | 1.5242 | 1.6726 | 1.4899 | 1.4018 | 1.3634
Additional Costs from Model Updates (including some soft costs) | [9 empty] | 0.0045339 | 0.04573 | [9 empty] | 0.0016042 | 0.046211 | Additional Costs from Model Updates* | [9 empty] | 0.05192 | 0.078445 | Additional Costs from Model Updates* | [9 empty] | 0.21307 | 0.2364
Total | 4.7481 | 4.0832 | 2.7713 | 2.1273 | 1.9725 | 1.9268 | 1.5313 | 1.0797 | 1.0879 | 0.94768 | 0.93653 | 5.6579 | 4.7885 | 3.2851 | 2.4984 | 2.2472 | 2.0792 | 1.6258 | 1.1623 | 1.1668 | 1.0161 | 1.0054 | Total | 5.5702 | 5.1822 | 3.565 | 2.899 | 2.8907 | 2.3985 | 2.2943 | 1.9432 | 1.7674 | 1.7634 | 1.7204 | Total | 7.5258 | 6.6203 | 4.6717 | 4.0903 | 3.601 | 3.3642 | 3.1574 | 2.9381 | 2.7846 | 2.7733 | 2.7101
Total Soft Costs | 1.5061 | 1.1133 | 0.95446 | 0.87355 | 0.7495 | 0.75114 | 0.51467 | 0.43952 | 0.38186 | 0.33044 | 0.32654 | 2.0847 | 1.5266 | 1.2439 | 1.0888 | 0.95904 | 0.83822 | 0.54659 | 0.47104 | 0.41223 | 0.3564 | 0.3524 | Total Soft Costs | 1.8125 | 1.7429 | 1.3603 | 1.2068 | 1.4996 | 1.1215 | 1.1146 | 1.151 | 0.94534 | 0.97486 | 0.94868 | Total Soft Costs | 3.7945 | 3.129 | 2.5239 | 2.2886 | 1.9841 | 1.9319 | 1.8441 | 1.9918 | 1.7674 | 1.7855 | 1.7416
Soft Cost % | 31.72% | 27.26% | 34.44% | 41.06% | 38% | 38.98% | 33.61% | 40.71% | 35.1% | 34.87% | 34.87% | 36.85% | 31.88% | 37.86% | 43.58% | 42.68% | 40.31% | 33.62% | 40.53% | 35.33% | 35.07% | 35.05% | Soft Cost % | 32.54% | 33.63% | 38.16% | 41.63% | 51.88% | 46.76% | 48.58% | 59.23% | 53.49% | 55.28% | 55.14% | Soft Cost % | 50.42% | 47.26% | 54.03% | 55.95% | 55.1% | 57.42% | 58.41% | 67.79% | 63.47% | 64.38% | 64.26%

## Figures ES-3, 19, 27, 34
PV System LCOE Benchmarks (2019 cents/kWh)
| Market Financing Rates | [10 empty] | Steady-State Financing
Reporting Year | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2020 | 2020a Goal | 2030 Goal
Benchmark Date | Q4 2009 | Q4 2010 | Q4 2011 | Q4 2012 | Q4 2013 | Q1 2015 | Q1 2016 | Q1 2017 | Q12018 | Q1 2019 | Q1 2020 | Q1 2020
Residential (6.9 kW)
High resource (CF 21.6%), no ITC | 41.6 | 35 | 24.1 | 20.2 | 16.9 | 15 | 13.8 | 12.9 | 12 | 11.2 | 11 | 10.5 | — | —
Medium resource (CF 17.6%), no ITC | 50.9 | 42.8 | 29.5 | 24.7 | 20.8 | 18.4 | 16.9 | 15.8 | 14.8 | 13.7 | 13.5 | 12.8 | 10.6 | 5.3
Low resource (CF 16.4%), no ITC | 54.7 | 46 | 31.7 | 26.6 | 22.3 | 19.7 | 18.1 | 17 | 15.9 | 14.7 | 14.5 | 13.8 | — | —
High resource (CF 21.6%), ITC | 27.6 | 23.2 | 16.1 | 13.5 | 11.3 | 9.9 | 9.1 | 8.6 | 8 | 7.1 | 7.1 | — | — | —
Medium resource (CF 17.6%), ITC | 33.9 | 28.4 | 19.8 | 16.5 | 13.8 | 12.1 | 11.2 | 10.5 | 9.8 | 8.7 | 8.7 | — | — | —
Low resource (CF 16.4%), ITC | 36.4 | 30.5 | 21.2 | 17.7 | 14.8 | 13 | 12 | 11.3 | 10.5 | 9.4 | 9.3 | — | — | —
Commercial Rooftop (200 kW)
High resource (CF 20.4%), no ITC | 32 | 28.5 | 19.2 | 15.2 | 14.3 | 11.5 | 10.7 | 9.2 | 8.9 | 7.9 | 7.7 | 7.3 | — | —
Medium resource (CF 16.4%), no ITC | 39.7 | 35.4 | 23.9 | 18.8 | 17.8 | 14.2 | 13.3 | 11.5 | 11 | 9.5 | 9.3 | 9 | 8.2 | 4.3
Low resource (CF 15.3%), no ITC | 42.8 | 38.1 | 25.7 | 20.3 | 19.2 | 15.3 | 14.3 | 12.4 | 11.9 | 10.6 | 10.3 | 9.7 | — | —
High resource (CF 20.4%), ITC | 21.1 | 18.8 | 12.8 | 10.1 | 9.5 | 7.6 | 7.1 | 6.2 | 5.9 | 5.1 | 4.9 | — | — | —
Medium resource (CF 16.4%), ITC | 26.2 | 23.3 | 15.9 | 12.6 | 11.8 | 9.5 | 8.8 | 7.7 | 7.4 | 6.3 | 6.1 | — | — | —
Low resource (CF 15.3%), ITC | 28.2 | 25.1 | 17.1 | 13.5 | 12.7 | 10.2 | 9.5 | 8.3 | 7.9 | 6.8 | 6.6 | — | — | —
Commercial Ground-Mount (500 kW)
High resource (CF 21.6%), no ITC | — | — | — | — | — | — | — | — | — | — | 7.1 | 6.7 | — | —
Medium resource (CF 17.6%), no ITC | — | — | — | — | — | — | — | — | — | — | 8.7 | 8.2 | — | —
Low resource (CF 16.4%), no ITC | — | — | — | — | — | — | — | — | — | — | 9.3 | 8.8 | — | —
High resource (CF 21.6%), ITC | — | — | — | — | — | — | — | — | — | — | 4.5 | — | — | —
Medium resource (CF 17.6%), ITC | — | — | — | — | — | — | — | — | — | — | 5.6 | — | — | —
Low resource (CF 16.4%), ITC | — | — | — | — | — | — | — | — | — | — | 6 | — | — | —
Utility-Scale (100 MW One-Axis Tracking)
High resource (CF 25.2%), no ITC | 22.5 | 18.6 | 12.7 | 9.6 | 8.5 | 7.6 | 6 | 4.6 | 4.4 | 3.7 | 3.7 | 3.6 | — | —
Medium resource (CF 19.6%), no ITC | 28.9 | 23.9 | 16.4 | 12.4 | 10.9 | 9.8 | 7.8 | 5.9 | 5.6 | 4.7 | 4.7 | 4.6 | 6.4 | 3.2
Low resource (CF 18.2%), no ITC | 31.4 | 26 | 17.8 | 13.4 | 11.8 | 10.6 | 8.4 | 6.4 | 6.1 | 5.1 | 5.1 | 4.9 | — | —
High resource (CF 25.2%), ITC | 13.9 | 11.5 | 8 | 6.1 | 5.4 | 4.8 | 3.9 | 3.1 | 3 | 2.5 | 2.5 | — | — | —
Medium resource (CF 19.6%), ITC | 17.9 | 14.8 | 10.3 | 7.8 | 6.9 | 6.2 | 5 | 3.9 | 3.8 | 3.3 | 3.3 | — | — | —
Low resource (CF 18.2%), ITC | 19.4 | 16.1 | 11.1 | 8.5 | 7.5 | 6.7 | 5.4 | 4.3 | 4.2 | 3.5 | 3.5 | — | — | —
Utility-Scale (100 MW Fixed-Tilt)
High resource (CF 21.3%), no ITC | 22.5 | 18.9 | 12.8 | 9.8 | 8.8 | 8.2 | 6.6 | 5 | 4.7 | 4 | 4 | 3.7 | — | —
Medium resource (CF 17.3%), no ITC | 27.7 | 23.2 | 15.7 | 12 | 10.8 | 10.1 | 8.1 | 6.1 | 5.8 | 4.9 | 4.9 | 4.6 | — | —
Low resource (CF 16.2%), no ITC | 29.6 | 24.8 | 16.9 | 12.9 | 11.5 | 10.8 | 8.7 | 6.5 | 6.2 | 5.2 | 5.2 | 4.9 | — | —
High resource (CF 21.3%), ITC | 14 | 11.7 | 8.1 | 6.2 | 5.6 | 5.2 | 4.2 | 3.3 | 3 | 2.5 | 2.5 | — | — | —
Medium resource (CF 17.3%), ITC | 17.2 | 14.4 | 9.9 | 7.6 | 6.8 | 6.4 | 5.2 | 4 | 3.7 | 3.1 | 3.1 | — | — | —
Low resource (CF 16.2%), ITC | 18.4 | 15.5 | 10.6 | 8.2 | 7.3 | 6.8 | 5.5 | 4.3 | 3.9 | 3.3 | 3.3 | — | — | —
a 2020 residential and commercial SETO goals are adjusted for inflation using the CPI; the 2020 utility-scale goal was left unchanged, because wholesale prices were relatively flat, and in some cases declined, from 2010 to 2020.

## Figure ES-4 and ES-5
2019 $ REAL | 100-MW PV + 60-MW / 240-MWh Battery Storage DC Coupled |  |  | 100-MW PV + 60-MW / 240-MWh Battery Storage AC Coupled
| 2018 | 2019 | 2020 | 2018 | 2019 | 2020
PV Modules | 35964090.5425 | 40436660.5596 | 40587665.7279 | 35964090.5425 | 40436660.5596 | 40587665.7279
Lithium-Ion Battery and Bidirectional Inverter | 55857370.3397 | 53133771.9754 | 49655544.2173 | 55857370.3397 | 53133771.9754 | 49655544.2173
Electrical and Structural BOS | 32197734.7197 | 29838222.8899 | 29292954.7367 | 31648990.516 | 31557173.3122 | 30797123.7297
Soft Costs - Install Labor | 19383481.6723 | 17038529.561 | 15537385.7944 | 16776405.6611 | 14467857.3119 | 13417123.7959
Soft Costs - Other (PII, Sales Tax, Overhead, and Profit) | 47261796.5131 | 40810762.3575 | 37749247.7101 | 46588781.991 | 39391300.302 | 36585982.6729
Total | 190664473.7874 | 181257947.3434 | 172822798.1864 | 186835639.0503 | 178986763.4612 | 171043440.1437
| Storage AC coupled Battery = 3 kW, 6 kWh (Less Resilient) |  |  |  | Storage AC coupled Battery = 5 kW, 20 kWh (More Resilient)
| PV (5.6 kW) |  | PV (6.9 kW) | PV (7.0 kW) | PV (5.6 kW) |  | PV (6.9 kW) | PV (7.0 kW)
| 2016 | // | 2019 | 2020 | 2016 | // | 2019 | 2020
PV Modules | 3859.8523 |  | 2820.1793 | 2843.9777 | 3859.8523 |  | 2820.1793 | 2843.9777
Storage System Kit | 8547.8927 |  | 5729.6994 | 5290.8983 | 19976.6741 |  | 12382.6082 | 11208.7779
PV Inverter and BOS | 2778.5767 |  | 2421.1316 | 2343.0299 | 2778.5767 |  | 2421.1316 | 2343.0299
Soft Costs - Install Labor | 3433.3731 |  | 2453.7698 | 2251.9787 | 6865.6692 |  | 2649.3172 | 2423.7173
Soft Costs - Other (PII, Sales Tax, Overhead, and Profit) | 13223.5373 |  | 16307.9681 | 15641.0112 | 17319.9455 |  | 19511.9924 | 19089.3117
Total | 31843.2321 |  | 29732.7482 | 28370.8958 | 50800.7178 |  | 39785.2287 | 37908.8146

## Figures ES-6, 39, 45, 51
| Residential |  | Commercial ground-mount |  | Utility-scale
| LCOSS (PV-plus-storage) | LCOE (standalone PV) | LCOSS (PV-plus-storage) | LCOE (standalone PV) | LCOSS (PV-plus-storage) | LCOE (standalone PV)
No ITC | 201.3228 | 127.3959 | 113.2513 | 75.8973 | 83.3799 | 43.7443
ITC | 124.0593 | 77.2725 | 73.2297 | 46.4007 | 56.5802 | 28.5976

## Figures 1, 2, 3, 4, 5
| Capacity-weighted average module efficiency |  |  |  | CA NEM and Tracking the Sun PV Installations by Technology |  |  |  | Median PV system size trends from the Tracking the Sun data set |  |  | U.S. residential and commercial inverter market from the Tracking the Sun data set | [5 empty] | TPO residential market share in Tracking the Sun data set
[12 empty] | Residential |  |  | Commercial rooftop
Year | Multicrystalline (LBNL) | Monocrystalline (LBNL) | Multicrystalline (CA NEM) | Monocrystalline (CA NEM) | Mono-c-Si (Tracking the Sun) | Mono c-Si (CA NEM) | Multi c-Si (CA NEM) | Thin Film (CA NEM) | Commercial ground-mount (>100 kW) | Commercial rooftop (>100 kW) | Residential | Microinverters | DC Optimizers | String Inverters | Microinverters | DC Optimizers | String Inverters
2010 | 13.9% | 15.61% | 13.89% | 15.83% | 39.09% | 47.05% | 49.64% | 3.311% | 562.38 | 333.1163 | 5.16 | 13.78% | 0.04808% | 86.18% | 13.78% | 0.04808% | 86.18% | 16.17%
2011 | 14.26% | 15.5% | 14.21% | 15.92% | 32.67% | 39.09% | 59.78% | 1.122% | 891 | 259.41 | 5.16 | 19.51% | 0.5172% | 79.97% | 19.51% | 0.5172% | 79.97% | 36.98%
2012 | 14.6% | 16.12% | 14.6% | 16.13% | 33.95% | 42.77% | 56.49% | 0.7399% | 800.415 | 217 | 5.28 | 24.77% | 1.992% | 73.24% | 24.77% | 1.992% | 73.24% | 59.28%
2013 | 15.09% | 16.33% | 15.15% | 16.36% | 31.1% | 28.49% | 71.07% | 0.4346% | 1209.6 | 259.092 | 5.635 | 33.13% | 5.019% | 61.85% | 33.13% | 5.019% | 61.85% | 53.21%
2014 | 15.55% | 16.9% | 15.64% | 17.18% | 30.08% | 29.73% | 69.76% | 0.5082% | 1142.64 | 257.0474 | 5.88 | 32.77% | 15.97% | 51.26% | 32.77% | 15.97% | 51.26% | 51.89%
2015 | 15.98% | 17.48% | 16.07% | 17.62% | 35.52% | 30.4% | 69.14% | 0.46% | 358.475 | 247.104 | 6.0467 | 28.77% | 27.27% | 43.96% | 28.77% | 27.27% | 43.96% | 57.22%
2016 | 16.37% | 18.01% | 16.38% | 18.11% | 41.77% | 37.75% | 61.68% | 0.5703% | 500 | 230.58 | 6.24 | 31.95% | 32.26% | 35.79% | 31.95% | 32.26% | 35.79% | 54.35%
2017 | 16.73% | 18.13% | 16.72% | 18.18% | 60.46% | 59.77% | 39.08% | 1.146% | 500 | 216.285 | 6.3021 | 39.09% | 40.01% | 20.9% | 39.09% | 40.01% | 20.9% | 43.02%
2018 | 16.91% | 18.52% | 17.02% | 18.66% | 73.56% | 71.81% | 27.91% | 0.2771% | 422.3395 | 206.89 | 6.3 | 35.58% | 49.8% | 14.62% | 35.58% | 49.8% | 14.62% | 37.89%
2019 |  |  | 17.32% | 19.24% |  | 80.87% | 19.09% | 0.03761%
Q1 2020 |  |  | 17.42% | 19.54% |  | 84% | 15.97% | 0.02196%
Data from:
Barbose, Galen, and Naïm Darghouth. 2019. Tracking the Sun: Pricing and Design Trends for Distributed Photovoltaic Systems in the United States: 2019 Edition. Berkeley, CA: Lawrence Berkeley National Laboratory. https://emp.lbl.gov/tracking-the-sun.
CA NEM (California net energy metering). 2020. “NEM Currently Interconnected Data Set.” Accessed August 11, 2020: http://www.californiadgstats.ca.gov/downloads.

## Figures 6, 7
Inverter and Module prices from Wood Mackenzie, SEIA, and PVInsights
Data not provided due to confidential nature of data points

## Figure 8
| Residential PV, Small Installer | Residential PV, National Integrator
Module ex-factory gate price (or spot price) | 0.40588 | 0.40588
Module premium due to historical inventory | 0.024353 | 0.024353
Supply chain cost (module price premium due to small-scale procurement) | 0.086046 | 0
Supply chain cost (shipping and handling) | 0.064534 | 0.064534
Module-related sales tax | 0.029664 | 0.025269

## Figure 9
Ex-factory gate prices (spot prices) for Li-ion batteries by product, from BNEF
Data not provided due to confidential nature of data points

## Figure 10
O&M Type | Residential | Commercial RT | Commercial GM | Utility (Fixed Tilt) | Utility (1-Axis Tracker)
Module cleaning & vegetation management | 1.36 | 2.88 | 4.01 | 3.36 | 3.36
System inspection & monitoring | 3.69 | 4.16 | 2.3 | 1.18 | 1.84
Component parts replacement | 9.02 | 1.55 | 0.66 | 0.64 | 1.12
Module replacement | 1.6 | 1.58 | 1.58 | 1.97 | 1.97
Inverter replacement | 7.07 | 2.35 | 2.45 | 1.95 | 1.95
Land lease | 0 | 0 | 2.4 | 2.4 | 2.4
Property tax | 1.9 | 1.9 | 1.9 | 1.9 | 1.9
Insurance, asset management, and security | 0.9 | 2.7 | 2.7 | 2.7 | 2.7
Operations administration | 3.4 | 1.43 | 0.7 | 0.22 | 0.22
Total O&M | 28.94 | 18.55 | 18.7 | 16.32 | 17.46

## Figure 12, 13, 14, 15, 16, 17
| String Inverter Option |  |  | Power Optimizer Option |  |  | Microinverter Option |  |  | Mixed
| Small Installer | National Integrator | Weighted Average | Small Installer | National Integrator | Weighted Average | Small Installer | National Integrator | Weighted Average | Weighted Average
Module | 0.40588 | 0.40588 | 0.40588 | 0.40588 | 0.40588 | 0.40588 | 0.40588 | 0.40588 | 0.40588 | 0.40588
Inverter | 0.13378 | 0.13378 | 0.13378 | 0.25602 | 0.25602 | 0.25602 | 0.29016 | 0.29016 | 0.29016 | 0.25032
Structual BoS | 0.08406 | 0.08406 | 0.08406 | 0.08406 | 0.08406 | 0.08406 | 0.08406 | 0.08406 | 0.08406 | 0.08406
Electrical BoS | 0.17703 | 0.17703 | 0.17703 | 0.20479 | 0.20479 | 0.20479 | 0.28215 | 0.28215 | 0.28215 | 0.22828
Supply Chain Costs | 0.25239 | 0.15784 | 0.21646 | 0.29934 | 0.19257 | 0.25877 | 0.3229 | 0.2127 | 0.28102 | 0.26051
Sales Tax | 0.053787 | 0.048958 | 0.051952 | 0.063846 | 0.058393 | 0.061774 | 0.070744 | 0.065116 | 0.068605 | 0.062772
Install Labor | 0.2001 | 0.2001 | 0.2001 | 0.19657 | 0.19657 | 0.19657 | 0.16758 | 0.16758 | 0.16758 | 0.18677
Permitting, Inspection, Interconnection | 0.2311 | 0.24925 | 0.238 | 0.2311 | 0.24925 | 0.238 | 0.2311 | 0.24925 | 0.238 | 0.238
Profit | 0.26148 | 0.24767 | 0.25623 | 0.29607 | 0.28008 | 0.29 | 0.31528 | 0.29867 | 0.30897 | 0.29182
Sales & Marketing (Customer acquisition) | 0.38282 | 0.50063 | 0.42759 | 0.38282 | 0.50063 | 0.42759 | 0.38282 | 0.50063 | 0.42759 | 0.42759
Overhead (General & Admin.) | 0.27014 | 0.28067 | 0.27414 | 0.27014 | 0.28067 | 0.27414 | 0.27014 | 0.28067 | 0.27414 | 0.27414
Total Price | 2.4526 | 2.4859 | 2.4652 | 2.6906 | 2.7089 | 2.6976 | 2.8228 | 2.8369 | 2.8281 | 2.7101
Residential Sensitivity Analysis
| Low $/w | High $/w | Basecase $/w | Low Input | High Input | Low Input Variable | High Input Variable
Inverter Type | 2.4652 | 2.8281 | 2.7098 | 0.24461 | 0.1183 | String Inverters | Microinverters
Electrician Labor | 2.6223 | 2.7849 | 2.7098 | 0.08757 | 0.075082 | Low State | High State
Construction Labor | 2.6759 | 2.7459 | 2.7098 | 0.033973 | 0.03603 | Low State | High State
Sales Tax | 2.6332 | 2.7421 | 2.7098 | 7.659% | 3.23% | Low State | High State
Module Efficiency | 2.6855 | 2.7295 | 2.7098 | 2.435% | 1.961% | 20.3% (80th % of CA NEM) | 19.4% (20th % of CA NEM)
| Vivint Q1 2020 | Sunrun Q1 2020 | NREL (Small Installer) Q1 2020 | NREL (National Integrator) Q1 2020 | NREL (Mixed) Q1 2020
Install Cost | 1.9304 | 2.1482 | 1.521 | 1.4093 | 1.4785
Sales & Marketing (Customer acquisition) | 1.3958 | 0.75236 | 0.61392 | 0.74989 | 0.66559
Overhead (General & Admin.) | 0.43557 | 0.15839 | 0.27014 | 0.28067 | 0.27414
Profit |  |  | 0.29785 | 0.28196 | 0.29181
Total Cost | 3.7618 | 3.0589 | 2.7029 | 2.7218 | 2.7101
| NREL (Small installer) Q1 2020 | NREL (Large installer) Q1 2020 | NREL (Mixed) Q1 2020 | NREL (New Construction) Q1 2020
Install Cost | 1.521 | 1.4093 | 1.4785 | 1.38
Sales & Marketing (Customer acquisition) | 0.61392 | 0.74989 | 0.66559 | 0.15095
Overhead (General & Admin.) | 0.27014 | 0.28067 | 0.27414 | 0.27672
Profit | 0.29785 | 0.28196 | 0.29181 | 0.2528
Total Cost | 2.7029 | 2.7218 | 2.7101 | 2.0605
| Q1 2020 Standard Residential PV Install | Q1 2020 Residential PV Install with Additional Costs
Standard Costs | 2.7101 | 2.7101
Transformer Upgrade |  | 0.098557
Re-roofing |  | 0.10378
Smaller System |  | 0.032809
Main Panel Upgrade |  | 0.019438
Extra Disconnect |  | 0.0012952
Total | 2.7101 | 2.966
| 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020
| Residential | Residential | Residential | Residential | Residential | Residential | Residential | Residential | Residential | Residential | Residential
Module | 2.6703 | 2.2424 | 1.1646 | 0.80399 | 0.7728 | 0.75839 | 0.68926 | 0.3676 | 0.48295 | 0.39426 | 0.37618
Inverter | 0.48032 | 0.71536 | 0.48054 | 0.45356 | 0.33982 | 0.31569 | 0.23116 | 0.2032 | 0.21578 | 0.22971 | 0.21722
BOS | 0.58073 | 0.53352 | 0.50264 | 0.54414 | 0.50425 | 0.35826 | 0.39292 | 0.37545 | 0.31854 | 0.28755 | 0.27445
Labor | 1.1695 | 0.73976 | 0.69695 | 0.86584 | 0.35078 | 0.35957 | 0.31993 | 0.31926 | 0.27744 | 0.24699 | 0.24246
Soft Costs - Other (PII, Sales Tax, Overhead, and Profit) | 2.625 | 2.3893 | 1.8269 | 1.4227 | 1.6333 | 1.5723 | 1.5242 | 1.6726 | 1.4899 | 1.4018 | 1.3634
Additional Costs from Model Updates* | [9 empty] | 0.21307 | 0.2364
Total | 7.5258 | 6.6203 | 4.6717 | 4.0903 | 3.601 | 3.3642 | 3.1574 | 2.9381 | 2.7846 | 2.7733 | 2.7101

## Figure 18
| Q1-2019 (multi-crystalline) | Q1-2019 (mono-crystalline) | Q1-2020 (mono-crystalline)
Module | 0.3336 | 0.40437 | 0.40588
Inverter | 0.25997 | 0.25997 | 0.25032
BOS | 0.35565 | 0.32346 | 0.31234
Labor | 0.21269 | 0.19164 | 0.18677
Soft Costs - Other (PII, Sales Tax, Overhead, and Profit) | 1.6706 | 1.5939 | 1.5548
Total | 2.8325 | 2.7733 | 2.7101

## Figure 21, 22, 23, 24, 25, 26
Commercial Rooftop | 0.1 MW | 0.2 MW | 0.5 MW | 1 MW | 2 MW |  |  |  |  | Commercial Ground Mount | 0.1 MW | 0.2 MW | 0.5 MW | 1 MW | 2 MW
Module | 0.40588 | 0.40588 | 0.40588 | 0.40588 | 0.40588 |  |  |  |  | Module | 0.40588 | 0.40588 | 0.40588 | 0.40588 | 0.40588
Inverter Only | 0.12342 | 0.12342 | 0.12342 | 0.12342 | 0.12342 |  |  |  |  | Inverter Only | 0.071347 | 0.071347 | 0.071347 | 0.071347 | 0.071347
Structural BOS | 0.10981 | 0.10981 | 0.10981 | 0.10981 | 0.10981 |  |  |  |  | Structural BOS | 0.16832 | 0.13697 | 0.11817 | 0.1119 | 0.10876
Electrical BOS | 0.14824 | 0.13266 | 0.12566 | 0.12187 | 0.11991 |  |  |  |  | Electrical BOS | 0.4116 | 0.31929 | 0.23479 | 0.18392 | 0.15708
Install Labor & Equipment | 0.18832 | 0.14822 | 0.1263 | 0.11781 | 0.11387 |  |  |  |  | Install Labor & Equipment | 0.20596 | 0.17333 | 0.15268 | 0.14449 | 0.13989
EPC Overhead | 0.17885 | 0.16219 | 0.15372 | 0.15003 | 0.14829 |  |  |  |  | EPC Overhead | 0.16528 | 0.13238 | 0.10834 | 0.096678 | 0.090339
Land Acquisition | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Sales Tax (if any) | 0.066377 | 0.059109 | 0.053036 | 0.049683 | 0.047917
Permitting, Inspection, Interconnection | 0.13581 | 0.10625 | 0.088446 | 0.082511 | 0.079542 |  |  |  |  | Land Acquisition | 0 | 0 | 0 | 0 | 0
Sales Tax (if any) | 0.047928 | 0.045996 | 0.044971 | 0.044545 | 0.044335 |  |  |  |  | Permitting Fee (if any) | 0.075068 | 0.037534 | 0.015014 | 0.0075068 | 0.0037534
Contingency (4%) | 0.048091 | 0.043938 | 0.041689 | 0.040796 | 0.040364 |  |  |  |  | Interconnection Fee | 0.027846 | 0.027846 | 0.027846 | 0.027846 | 0.027846
Developer Overhead | 0.36068 | 0.32954 | 0.31267 | 0.30597 | 0.30273 |  |  |  |  | Transmission Line (if any) | 0 | 0 | 0 | 0 | 0
EPC/Developer Profit | 0.12229 | 0.11255 | 0.10728 | 0.10519 | 0.10417 |  |  |  |  | Developer Overhead | 0.4793 | 0.4091 | 0.35613 | 0.32977 | 0.31584
Total System Cost | 1.8693 | 1.7204 | 1.6398 | 1.6078 | 1.5923 |  |  |  |  | Contingency (3%) | 0.063907 | 0.054547 | 0.047484 | 0.04397 | 0.042113
[10 empty] | EPC/Developer Profit | 0.17127 | 0.14619 | 0.12726 | 0.11784 | 0.11286
[10 empty] | Total System Cost | 2.3122 | 1.9735 | 1.718 | 1.5908 | 1.5236
Commercial Rooftop | Low $/w | High $/w | Basecase $/w | Low Input | High Input | Low Input Variable | High Input Variable |  |  | Commercial Ground Mount | Low $/w | High $/w | Basecase $/w | Low Input | High Input | Low Input Variable | High Input Variable
Inverter Type | 1.6058 | 1.9247 | 1.7204 | 0.11468 | 0.20424 | String Inverters | Microinverters |  |  | Material Location Factor | 1.6725 | 1.8497 | 1.718 | 0.045461 | 0.1317 | Low State | High State
Electrician Labor | 1.6234 | 1.8003 | 1.7204 | 0.097056 | 0.079899 | Low State | High State |  |  | Equipment Location Factor | 1.6524 | 1.8253 | 1.718 | 0.065562 | 0.10734 | Low State | High State
Material Location Factor | 1.6935 | 1.7985 | 1.7204 | 0.026956 | 0.078094 | Low State | High State |  |  | Construction Labor | 1.6468 | 1.7904 | 1.718 | 0.071147 | 0.072455 | Low State | High State
Construction Labor | 1.6584 | 1.7837 | 1.7204 | 0.062093 | 0.063235 | Low State | High State |  |  | Equipment Operator Labor | 1.6914 | 1.7451 | 1.718 | 0.026565 | 0.027093 | Low State | High State
Equipment Location Factor | 1.696 | 1.7605 | 1.7204 | 0.024455 | 0.040036 | Low State | High State |  |  | Sales Tax | 1.6412 | 1.7405 | 1.718 | 7.675% | 2.25% | Low State | High State
Sales Tax | 1.6545 | 1.7398 | 1.7204 | 6.595% | 1.933% | Low State | High State |  |  | Module Efficiency | 1.6967 | 1.7351 | 1.718 | 2.131% | 1.715% | 20.3% (80th % of CA NEM) | 19.4% (20th % of CA NEM)
Module Efficiency | 1.7085 | 1.7399 | 1.7204 | 1.199% | 1.944% | 20.3% (80th % of CA NEM) | 19.4% (20th % of CA NEM) |  |  | Electrician Labor | 1.6992 | 1.7335 | 1.718 | 0.018799 | 0.015476 | Low State | High State
Equipment Operator Labor | 1.7132 | 1.7278 | 1.7204 | 0.0072553 | 0.0073995 | Low State | High State
| 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020
| Commercial Rooftop | Commercial Rooftop | Commercial Rooftop | Commercial Rooftop | Commercial Rooftop | Commercial Rooftop | Commercial Rooftop | Commercial Rooftop | Commercial Rooftop | Commercial Rooftop | Commercial Rooftop
Module | 2.6362 | 2.2424 | 1.1646 | 0.69912 | 0.76734 | 0.74025 | 0.68926 | 0.3676 | 0.48295 | 0.39426 | 0.37618
Inverter | 0.37849 | 0.43797 | 0.32507 | 0.2913 | 0.1732 | 0.14152 | 0.14001 | 0.1096 | 0.082204 | 0.054644 | 0.044592
BOS | 0.743 | 0.75898 | 0.71505 | 0.70179 | 0.45054 | 0.39516 | 0.35042 | 0.31498 | 0.25689 | 0.25597 | 0.2444
Labor | 0.33072 | 0.33784 | 0.31828 | 0.31238 | 0.2302 | 0.20357 | 0.20181 | 0.17706 | 0.12331 | 0.16307 | 0.15876
Soft Costs - Other (PII, Sales Tax, Overhead, and Profit) | 1.4817 | 1.405 | 1.042 | 0.89442 | 1.2694 | 0.91796 | 0.91282 | 0.97396 | 0.82204 | 0.84357 | 0.81807
Additional Costs from Model Updates* | [9 empty] | 0.05192 | 0.078445
Total | 5.5702 | 5.1822 | 3.565 | 2.899 | 2.8907 | 2.3985 | 2.2943 | 1.9432 | 1.7674 | 1.7634 | 1.7204
Commercial Rooftop | Q1-2019 (multi-crystalline) | Q1-2019 (mono-crystalline) | Q1-2020 (mono-crystalline)
Module | 0.3336 | 0.40437 | 0.40588
Inverter | 0.1371 | 0.1371 | 0.12342
BOS | 0.26297 | 0.24709 | 0.24247
Labor | 0.16276 | 0.15412 | 0.14822
Soft Costs - Other (PII, Sales Tax, Overhead, and Profit) | 0.8054 | 0.82074 | 0.80046
Total | 1.7018 | 1.7634 | 1.7204

## Figure 29
| 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Annual Tracking Share by Capacity | 12.54% | 47.45% | 28.13% | 45.23% | 54.74% | 61.36% | 75.41% | 68.72% | 63.46% | 81.96%
Cumulative Tracking Share by Capacity | 24.64% | 40.65% | 32.75% | 39.49% | 45.52% | 50.05% | 60.7% | 62.27% | 62.46% | 65.47%

## Figure 30, 31, 32, 33
| Utilit- Fixed Tilt |  |  |  | Utility - One Axis racker
| 5 | 10 | 50 | 100 | 5 | 10 | 50 | 100
Module | 0.40588 | 0.40588 | 0.40588 | 0.40588 | 0.40588 | 0.40588 | 0.40588 | 0.40588
Inverter Only | 0.050581 | 0.050581 | 0.050581 | 0.050581 | 0.051713 | 0.051713 | 0.051713 | 0.051713
Structural BOS | 0.10097 | 0.099321 | 0.090648 | 0.08037 | 0.15301 | 0.15082 | 0.13776 | 0.12201
Electrical BOS | 0.12951 | 0.11436 | 0.090004 | 0.073169 | 0.13065 | 0.11532 | 0.090554 | 0.073424
Install Labor & Equipment | 0.12345 | 0.12088 | 0.11137 | 0.1017 | 0.13492 | 0.13219 | 0.12179 | 0.11111
EPC Overhead | 0.07883 | 0.074725 | 0.062683 | 0.049539 | 0.090585 | 0.086183 | 0.072168 | 0.056869
Sales Tax (if any) | 0.044318 | 0.04333 | 0.042149 | 0.040635 | 0.047629 | 0.046598 | 0.045137 | 0.043286
Land Acquisition | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Permitting Fee (if any) | 0.039679 | 0.019839 | 0.0039679 | 0.0019839 | 0.039679 | 0.019839 | 0.0039679 | 0.0019839
Interconnection Fee | 0.027846 | 0.027846 | 0.027846 | 0.027846 | 0.027846 | 0.027846 | 0.027846 | 0.027846
Transmission Line (if any) | 0 | 0 | 0.015397 | 0.016693 | 0 | 0 | 0.015397 | 0.016693
Developer Overhead | 0.11408 | 0.073903 | 0.028247 | 0.018043 | 0.12329 | 0.080053 | 0.030492 | 0.019368
Contingency (3%) | 0.030032 | 0.028703 | 0.027062 | 0.025502 | 0.032457 | 0.031091 | 0.029213 | 0.027374
EPC/Developer Profit | 0.091613 | 0.083076 | 0.062883 | 0.044597 | 0.099013 | 0.08999 | 0.067889 | 0.047877
Total System Cost | 1.2368 | 1.1424 | 1.0187 | 0.93653 | 1.3367 | 1.2375 | 1.0998 | 1.0054
Utility - One Axis racker | Low $/w | High $/w | Basecase $/w | Low Input | High Input | Low Input Variable | High Input Variable
Equipment Location Factor | 0.96138 | 1.0775 | 1.0054 | 0.044043 | 0.072105 | Low State | High State
Material Location Factor | 0.98845 | 1.0546 | 1.0054 | 0.016975 | 0.049178 | Low State | High State
Construction Labor | 0.96608 | 1.0455 | 1.0054 | 0.039348 | 0.040071 | Low State | High State
Sales Tax | 0.95765 | 1.0194 | 1.0054 | 4.778% | 1.4% | Low State | High State
Equipment Operator Labor | 0.99189 | 1.0192 | 1.0054 | 0.013533 | 0.013802 | Low State | High State
Module Efficiency | 0.99208 | 1.0162 | 1.0054 | 1.335% | 1.075% | 20.3% (80th % of CA NEM) | 19.4% (20th % of CA NEM)
Electrician Labor | 0.99927 | 1.0105 | 1.0054 | 0.0061507 | 0.0050634 | Low State | High State
| 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020
| Utility ground mount (Fixed axis) | Utility ground mount (Fixed axis) | Utility ground mount (Fixed axis) | Utility ground mount (Fixed axis) | Utility ground mount (Fixed axis) | Utility ground mount (Fixed axis) | Utility ground mount (Fixed axis) | Utility ground mount (Fixed axis) | Utility ground mount (Fixed axis) |  | Utility ground mount (Fixed axis) | Utility ground mount (one-axis tracker) | Utility ground mount (one-axis tracker) | Utility ground mount (one-axis tracker) | Utility ground mount (one-axis tracker) | Utility ground mount (one-axis tracker) | Utility ground mount (one-axis tracker) | Utility ground mount (one-axis tracker) | Utility ground mount (one-axis tracker) | Utility ground mount (one-axis tracker) | Utility ground mount (one-axis tracker) | Utility ground mount (one-axis tracker)
Module | 2.5107 | 2.2424 | 1.1646 | 0.69912 | 0.71253 | 0.70759 | 0.68926 | 0.3676 | 0.48295 | 0.39426 | 0.37618 | 2.5107 | 2.2424 | 1.1646 | 0.69912 | 0.71253 | 0.70759 | 0.68926 | 0.3676 | 0.48295 | 0.39426 | 0.37618
Inverter | 0.28386 | 0.33578 | 0.28267 | 0.1942 | 0.13154 | 0.11975 | 0.1077 | 0.063018 | 0.045333 | 0.029317 | 0.02168 | 0.28386 | 0.33578 | 0.28267 | 0.1942 | 0.13154 | 0.11975 | 0.11847 | 0.064634 | 0.047425 | 0.030327 | 0.022175
Hardware BOS - Structural and Electrical Components | 0.44746 | 0.39173 | 0.36959 | 0.36045 | 0.37897 | 0.34835 | 0.21963 | 0.20951 | 0.17781 | 0.18804 | 0.17432 | 0.77863 | 0.68371 | 0.59396 | 0.51626 | 0.4441 | 0.41367 | 0.27147 | 0.25902 | 0.2242 | 0.23303 | 0.21781
Soft Costs - Install Labor | 0.50073 | 0.45216 | 0.4262 | 0.41555 | 0.23568 | 0.20683 | 0.16124 | 0.13159 | 0.12232 | 0.097215 | 0.093991 | 0.64267 | 0.56896 | 0.53951 | 0.51841 | 0.25213 | 0.21772 | 0.17469 | 0.14263 | 0.13339 | 0.10567 | 0.10216
Soft Costs - Others (PII, Land Acquisition, Transmission Line, Sales Tax, Overhead, and Profit) | 1.0054 | 0.66112 | 0.52826 | 0.45799 | 0.51382 | 0.5443 | 0.35343 | 0.30794 | 0.25953 | 0.23431 | 0.22463 | 1.442 | 0.95764 | 0.70435 | 0.57043 | 0.70691 | 0.6205 | 0.3719 | 0.32841 | 0.27884 | 0.25121 | 0.24089
Additional Costs from Model Updates* | [9 empty] | 0.0045339 | 0.04573 | [9 empty] | 0.0016042 | 0.046211
Total | 4.7481 | 4.0832 | 2.7713 | 2.1273 | 1.9725 | 1.9268 | 1.5313 | 1.0797 | 1.0879 | 0.94768 | 0.93653 | 5.6579 | 4.7885 | 3.2851 | 2.4984 | 2.2472 | 2.0792 | 1.6258 | 1.1623 | 1.1668 | 1.0161 | 1.0054
Utility - One Axis racker | Q1-2019 (multi-crystalline) | Q1-2019 (mono-crystalline) | Q1-2020 (mono-crystalline) | Q1-2019 (multi-crystalline) | Q1-2019 (mono-crystalline) | Q1-2020 (mono-crystalline)
Module | 0.3336 | 0.40437 | 0.40588 | 0.3336 | 0.40437 | 0.40588
Inverter | 0.051653 | 0.051653 | 0.050581 | 0.052809 | 0.052809 | 0.051713
BOS | 0.17278 | 0.16123 | 0.15354 | 0.21861 | 0.20253 | 0.19543
Labor | 0.1136 | 0.1024 | 0.1017 | 0.1242 | 0.11195 | 0.11111
Soft Costs - Other (PII, Sales Tax, Overhead, and Profit) | 0.22464 | 0.22803 | 0.22484 | 0.24284 | 0.24445 | 0.2413
Total | 0.89628 | 0.94768 | 0.93653 | 0.97206 | 1.0161 | 1.0054

## Figure 35, 37, 38
| DC coupled 3 kW, 6 kWh | AC coupled 3 kW, 6 kWh | DC coupled 5 kW, 20 kWh | AC coupled 5 kW, 20 kWh
Battery | 1502.7336 | 1502.7336 | 5009.1119 | 5009.1119
Battery Inverter (Bi-Directional) | 1033.5006 | 1033.5006 | 3445.0019 | 3445.0019
PV Inverter (Grid-Tied)
Electrical BOS | 1800.2259 | 1461.2093 | 1800.2259 | 1461.2093
Supply Chain Cost | 216.823 | 199.8722 | 512.717 | 495.7662
Sales Tax | 284.4134 | 264.0724 | 639.4861 | 619.1451
Install Labor (Burdened) | 907.2974 | 1193.5283 | 1002.7077 | 1384.349
Engineering Fee | 98.9943 | 98.9943 | 98.9943 | 98.9943
Permitting, Inspection, Interconnection | 846.0814 | 1175.5404 | 846.0814 | 1175.5404
Sales & Marketing | 2241.8044 | 2499.9296 | 3449.535 | 3707.6601
Overhead & Profit | 2891.1013 | 2857.9332 | 4666.684 | 4643.7841
Total | 11822.9752 | 12287.3139 | 21470.5452 | 22040.5623
| PV Only 7.0 kW | PV (7.0 kW) + Storage DC coupled Battery = 3 kW, 6 kWh Inverter = 6 kW Critical load = 3.3 kW | PV (7.0 kW) + Storage AC coupled Battery = 3 kW, 6 kWh Inverter = 6 kW Critical load = 3.3 kW | PV (7.0 kW) + Storage DC coupled Battery = 5 kW, 20 kWh Inverter = 8 kW Critical load = 8kW | PV (7.0 kW) + Storage AC coupled Battery = 5 kW, 20 kWh Inverter = 8 kW Critical load = 8kW
PV Modules | 2843.9777 | 2843.9777 | 2843.9777 | 2843.9777 | 2843.9777
Lithium-ion Battery | 0 | 1502.7336 | 1502.7336 | 5009.1119 | 5009.1119
PV Inverter (Grid-Tied) | 1754.0244 | 0 | 1754.0244 | 0 | 1754.0244
Battery Inverter (Bi-Directional) | 0 | 1033.5006 | 1033.5006 | 3445.0019 | 3445.0019
Structural BOS | 589.0055 | 589.0055 | 589.0055 | 589.0055 | 589.0055
Electrical BOS | 1599.5287 | 3059.7791 | 2754.6642 | 3059.7791 | 2754.6642
Supply Chain Costs | 1825.4243 | 2042.2473 | 2025.2965 | 2338.1413 | 2321.1905
Sales Tax | 439.8437 | 724.2571 | 703.9161 | 1079.3298 | 1058.9888
Install Labor (Burdened) & Equipment | 1308.6702 | 1994.3709 | 2251.9787 | 2080.2402 | 2423.7173
Permitting, Inspection, Interconnection | 1667.6604 | 1667.6604 | 1667.6604 | 1667.6604 | 1667.6604
Overhead (General & Admin.) | 1920.9233 | 3584.0277 | 3584.0277 | 4138.3958 | 4138.3958
Sales & Marketing (Customer acquisition) | 2996.1006 | 5237.905 | 5496.0302 | 6445.6355 | 6703.7607
Net Profit | 2044.7829 | 1873.9725 | 2164.0804 | 2894.6098 | 3199.3155
Total | 18989.9418 | 26153.4373 | 28370.8958 | 35590.889 | 37908.8146
| Storage AC coupled Battery = 3 kW, 6 kWh (Less Resilient) |  |  |  | Storage AC coupled Battery = 5 kW, 20 kWh (More Resilient)
| PV (5.6 kW) |  | PV (6.9 kW) | PV (7.0 kW) | PV (5.6 kW) |  | PV (6.9 kW) | PV (7.0 kW)
| 2016 | // | 2019 | 2020 | 2016 | // | 2019 | 2020
PV Modules | 3859.8523 |  | 2820.1793 | 2843.9777 | 3859.8523 |  | 2820.1793 | 2843.9777
Storage System Kit | 8547.8927 |  | 5729.6994 | 5290.8983 | 19976.6741 |  | 12382.6082 | 11208.7779
PV Inverter and BOS | 2778.5767 |  | 2421.1316 | 2343.0299 | 2778.5767 |  | 2421.1316 | 2343.0299
Soft Costs - Install Labor | 3433.3731 |  | 2453.7698 | 2251.9787 | 6865.6692 |  | 2649.3172 | 2423.7173
Soft Costs - Other (PII, Sales Tax, Overhead, and Profit) | 13223.5373 |  | 16307.9681 | 15641.0112 | 17319.9455 |  | 19511.9924 | 19089.3117
Total | 31843.2321 |  | 29732.7482 | 28370.8958 | 50800.7178 |  | 39785.2287 | 37908.8146

## Figure 42, 44
Commercial BESS |  | 4 hour | 2 hour | 1 hour | 0.5 hour
|  | $/kWh | $/kWh | $/kWh | $/kWh
Lithium-ion Battery |  | 192.049 | 196.0087 | 220.7573 | 239.5662
Battery Central Inverter |  | 14.8491 | 29.6983 | 59.3966 | 118.7932
Structural BOS |  | 25.5784 | 51.1568 | 102.3137 | 204.6273
Electrical BOS |  | 47.6899 | 95.3798 | 190.7595 | 381.519
Installation Labor & Equipment |  | 62.5298 | 125.0597 | 250.1194 | 500.2387
EPC Overhead |  | 32.7816 | 65.5632 | 131.1265 | 262.253
Sale Tax |  | 17.5022 | 24.0953 | 38.2575 | 64.8021
∑ EPC Cost |  | 392.9801 | 586.9618 | 992.7304 | 1771.7995
Land acquisition |  | 0 | 0 | 0 | 0
Permitting fee |  | 3.0964 | 6.1928 | 12.3856 | 24.7711
Interconnection fee |  | 11.4857 | 22.9713 | 45.9426 | 91.8853
Contingency |  | 15.8619 | 23.7639 | 40.28 | 72.0135
Developer overhead |  | 23.7928 | 35.6458 | 60.42 | 108.0202
EPC/developer net profit |  | 21.7936 | 32.6423 | 55.319 | 98.8865
∑ Developer cost |  | 76.0304 | 121.216 | 214.3471 | 395.5767
∑ Total energy storage system cost |  | 469.0105 | 708.1779 | 1207.0775 | 2167.3762
| 1-MW PV System | 600 kW / 2400 kWh Battery Storage System | 1-MW PV + 600kW / 2400kWh Battery Storage DC Coupled | 1-MW PV + 600kW / 2400kWh Battery Storage AC Coupled | 1-MW PV + 600kW / 2400kWh Battery Storage in Different Sites
PV Module | 405876.6573 |  | 405876.6573 | 405876.6573 | 405876.6573
Lithium-ion Battery | 0 | 460917.4918 | 460917.4918 | 460917.4918 | 460917.4918
Solar Inverter | 71347.248 | 0 |  | 71347.248 | 71347.248
Bidirectional Inverter | 0 | 35637.9504 | 35637.9504 | 35637.9504 | 35637.9504
Structural BOS | 111896.5665 | 61388.1974 | 179758.7865 | 173283.5651 | 173284.7639
Electrical BOS | 183922.3806 | 114455.704 | 225088.3076 | 190035.6078 | 298378.0846
Install Labor & Equipment | 144488.3332 | 150071.6119 | 271096.6882 | 217553.3312 | 294559.945
EPC Overhead | 96677.7779 | 78675.8866 | 161385.8181 | 129511.0706 | 175353.6645
Sale Tax | 49682.7001 | 42005.3898 | 82924.0579 | 84815.5739 | 91688.09
∑ EPC Cost | 1063891.6636 | 943152.2319 | 1822685.7577 | 1768978.4962 | 2007043.8954
Land Acquisition | 0 | 0 | 0 | 0 | 0
Permitting Fee | 7506.8373 | 7506.8373 | 7506.8373 | 7656.974 | 15013.6745
Interconnection Fee | 27845.624 | 27845.624 | 27845.624 | 28402.5365 | 55691.248
Transmission Line | 0 | 0 | 0 | 0 | 0
Contingency (3%) | 43969.765 | 38068.5419 | 55741.1466 | 54151.1402 | 82038.3069
Developer Overhead | 329773.2375 | 57102.8129 | 55741.1466 | 54151.1402 | 386876.0503
EPC/Developer Net Profit | 117838.9702 | 52304.6423 | 157561.641 | 153067.223 | 170143.6125
∑ Developer Cost | 526934.4339 | 182472.921 | 304396.3954 | 297429.0139 | 709407.355
Total Cost | 1590826.0975 | 1125625.1529 | 2127082.1531 | 2066407.51 | 2716451.2504

## Figure 47, 49, 50
Utility BESS |  | 4 hour | 2 hour | 1 hour | 0.5 hour
|  | $/kWh | $/kWh | $/kWh | $/kWh
Model Component |  | $/kWh | $/kWh | $/kWh | $/kWh
Lithium-ion Battery |  | 192.049 | 196.0087 | 220.7573 | 239.5662
Battery Central Inverter |  | 14.8491 | 29.6983 | 59.3966 | 118.7932
Structural BOS |  | 13.0891 | 15.2882 | 19.6862 | 28.4824
Electrical BOS |  | 35.471 | 50.2189 | 79.7147 | 138.7062
Installation Labor & Equipment |  | 19.3631 | 30.5736 | 52.9945 | 97.8365
EPC Overhead |  | 9.712 | 13.3906 | 20.7478 | 35.4622
Sale Tax |  | 15.7046 | 18.4487 | 24.9131 | 36.0618
∑ EPC Cost |  | 300.2379 | 353.6269 | 478.2102 | 694.9085
Land acquisition |  | 0 | 0 | 0 | 0
Permitting fee |  | 1.218 | 2.436 | 4.872 | 9.744
Interconnection fee |  | 7.6286 | 15.2573 | 30.5146 | 61.0292
Contingency |  | 9.3462 | 11.2133 | 15.4816 | 23.0441
Developer overhead |  | 6.6126 | 7.9336 | 10.9535 | 16.3042
EPC/developer net profit |  | 16.2522 | 19.5234 | 27.0016 | 40.2515
∑ Developer cost |  | 41.0577 | 56.3636 | 88.8233 | 150.373
∑ Total energy storage system cost |  | 341.2955 | 409.9905 | 567.0334 | 845.2814
| 100-MW One-axis Tracker PV System | 60-MW / 240-MWh Battery Storage System | 100-MW PV + 60-MW / 240-MWh Battery Storage DC Coupled | 100-MW PV + 60-MW / 240-MWh Battery Storage AC Coupled | 100-MW PV + 60-MW / 240-MWh Battery Storage in Different Sites
PV Module | 40587665.7279 | 0 | 40587665.7279 | 40587665.7279 | 40587665.7279
Lithium-ion Battery | 0 | 46091749.1778 | 46091749.1778 | 46091749.1778 | 46091749.1778
Solar Inverter | 5171344.3774 | 0 |  | 5171344.3774 | 5171344.3774
Bidirectional Inverter | 0 | 3563795.0395 | 3563795.0395 | 3563795.0395 | 3563795.0395
Structural BOS | 12200776.1147 | 3141387.874 | 15908348.188 | 15289203.1576 | 15342163.9887
Electrical BOS | 7342375.7047 | 8513031.8908 | 13384606.5486 | 10336576.1947 | 15855407.5955
Install Labor & Equipment | 11110683.4949 | 4647137.4825 | 15537385.7944 | 13417123.7959 | 15757820.9774
EPC Overhead | 5686877.0696 | 2330877.2278 | 7905594.4284 | 6826781.579 | 8017754.2974
Sale Tax | 4328558.721 | 3769112.2233 | 7645117.0898 | 7741318.5038 | 8097670.9444
∑ EPC Cost | 86428281.2104 | 72057090.9157 | 150624261.9945 | 149025557.5536 | 158485372.1261
Land Acquisition | 0 | 0 | 0 | 0 | 0
Permitting Fee | 198394.9849 | 198394.9849 | 198394.9849 | 198394.9849 | 396789.9699
Interconnection Fee | 2784559.9144 | 2784559.9144 | 2784559.9144 | 2784559.9144 | 5569119.8287
Transmission Line | 1669331.342 | 0 | 1669331.342 | 1669331.342 | 1669331.342
Contingency (3%) | 2737425.0176 | 2243090.2685 | 4658296.4471 | 4610335.3138 | 4980515.2861
Developer Overhead | 1936786.8282 | 1587034.4059 | 4658296.4471 | 4610335.3138 | 3523821.2342
EPC/Developer Net Profit | 4787738.9649 | 3900520.5025 | 8229657.0565 | 8144925.7211 | 8688259.4674
∑ Developer Cost | 14114237.052 | 10713600.0762 | 22198536.1919 | 22017882.5901 | 24827837.1282
∑ Total System Cost | 100542518.2624 | 82770690.992 | 172822798.1864 | 171043440.1437 | 183313209.2543
| 100-MW PV + 60-MW / 240-MWh Battery Storage DC Coupled |  |  | 100-MW PV + 60-MW / 240-MWh Battery Storage AC Coupled
| 2018 | 2019 | 2020 | 2018 | 2019 | 2020
PV Modules | 35964090.5425 | 40436660.5596 | 40587665.7279 | 35964090.5425 | 40436660.5596 | 40587665.7279
Lithium-Ion Battery and Bidirectional Inverter | 55857370.3397 | 53133771.9754 | 49655544.2173 | 55857370.3397 | 53133771.9754 | 49655544.2173
Electrical and Structural BOS | 32197734.7197 | 29838222.8899 | 29292954.7367 | 31648990.516 | 31557173.3122 | 30797123.7297
Soft Costs - Install Labor | 19383481.6723 | 17038529.561 | 15537385.7944 | 16776405.6611 | 14467857.3119 | 13417123.7959
Soft Costs - Other (PII, Sales Tax, Overhead, and Profit) | 47261796.5131 | 40810762.3575 | 37749247.7101 | 46588781.991 | 39391300.302 | 36585982.6729
Total | 190664473.7874 | 181257947.3434 | 172822798.1864 | 186835639.0503 | 178986763.4612 | 171043440.1437