## Introduction
Purpose, Scope, and Data
Covers grid-connected, distributed photovoltaic (PV) systems installed through 2019. “Distributed” PV consists of residential and non-residential systems that are roof-mounted (of any size) or are ground-mounted up to 5 MWAC. Ground-mounted projects >5 MWAC are covered in Berkeley Lab’s Utility-Scale Solar Data Update: 2020 Edition.
Outline of Data File
• Sample description
• Distributed PV System Characteristics (based on the Full Sample)
• Temporal Trends in Installed Prices (based on Installed-Price Sample)
• Variation in Installed Prices (based on Installed-Price Sample)
Acknowledgments
This work was funded by the Solar Energy Technologies Office, Office of Energy Efficiency and Renewable Energy of the U.S. Department of Energy under Contract No. DE-AC02-05CH11231. The authors are solely responsible for any omissions or errors contained herein.
Disclaimer
This document was prepared as an account of work sponsored by the United States Government. While this document is believed to contain correct information, neither the United States Government nor any agency thereof, nor The Regents of the University of California, nor any of their employees, makes any warranty, express or implied, or assumes any legal responsibility for the accuracy, completeness, or usefulness of any information, apparatus, product, or process disclosed, or represents that its use would not infringe privately owned rights. Reference herein to any specific commercial product, process, or service by its trade name, trademark, manufacturer, or otherwise, does not necessarily constitute or imply its endorsement, recommendation, or favoring by the United States Government or any agency thereof, or The Regents of the University of California. The views and opinions of authors expressed herein do not necessarily state or reflect those of the United States Government or any agency thereof, or The Regents of the University of California.
Ernest Orlando Lawrence Berkeley National Laboratory is an equal opportunity employer.
Copyright Notice
This manuscript has been authored by an author at Lawrence Berkeley National Laboratory under Contract No. DE-AC02-05CH11231 with the U.S. Department of Energy. The U.S. Government retains, and the publisher, by accepting the article for publication, acknowledges, that the U.S. Government retains a non-exclusive, paid-up, irrevocable, worldwide license to publish or reproduce the published form of this manuscript, or allow others to do so, for U.S. Government purposes.

## Sample Size
Comparison of the Data Sample to the Total U.S. Distributed PV Market
Year | Total U.S. Market* |  |  | Full Sample |  |  |  | Installed-Price Sample |  |  |  | x-axis labels
| Residential | Non-Residential | Total | Residential | Small Non-Residential | Large Non-Residential | Total | Residential | Small Non-Residential | Large Non-Residential | Total
1998 | 228.8256 | 12.1744 | 241 | 26 | 0 | 1 | 27 | 5 | 0 | 0 | 5
1999 | 616.2151 | 32.7849 | 649 | 186 | 11 | 1 | 198 | 97 | 3 | 0 | 100
2000 | 737.749 | 39.251 | 777 | 185 | 12 | 0 | 197 | 99 | 9 | 0 | 108 | 2000
2001 | 1748 | 93 | 1841 | 1142 | 39 | 5 | 1186 | 707 | 19 | 0 | 726
2002 | 3183 | 269 | 3452 | 2185 | 160 | 28 | 2373 | 1394 | 71 | 3 | 1468
2003 | 4085 | 498 | 4583 | 2856 | 256 | 35 | 3147 | 2261 | 176 | 12 | 2449
2004 | 5980 | 870 | 6850 | 4883 | 412 | 37 | 5332 | 4135 | 300 | 29 | 4464
2005 | 6652 | 1062 | 7714 | 5085 | 428 | 75 | 5588 | 4328 | 288 | 54 | 4670
2006 | 8445 | 1128 | 9573 | 8409 | 503 | 106 | 9018 | 7205 | 347 | 82 | 7634
2007 | 13132 | 1463 | 14595 | 13007 | 756 | 154 | 13917 | 10691 | 516 | 100 | 11307
2008 | 17008 | 1943 | 18951 | 15896 | 1400 | 303 | 17599 | 12262 | 1041 | 131 | 13434
2009 | 29418 | 2275 | 31693 | 28630 | 1984 | 334 | 30948 | 22333 | 1594 | 178 | 24105
2010 | 48420 | 4638 | 53058 | 41290 | 3411 | 661 | 45362 | 30897 | 2728 | 415 | 34040
2011 | 53823 | 7266 | 61089 | 52944 | 5145 | 1571 | 59660 | 30430 | 3512 | 834 | 34776
2012 | 84081 | 8382 | 92463 | 71465 | 5395 | 1747 | 78607 | 25911 | 3377 | 849 | 30137
2013 | 132736 | 8592 | 141328 | 105263 | 4145 | 1412 | 110820 | 29941 | 2019 | 645 | 32605
2014 | 191225 | 8543 | 199768 | 163742 | 4927 | 1363 | 170032 | 32424 | 1680 | 650 | 34754
2015 | 311175 | 8147 | 319322 | 267848 | 4843 | 1521 | 274212 | 72101 | 2192 | 637 | 74930
2016 | 368354 | 10735 | 379089 | 300717 | 5838 | 2270 | 308825 | 122413 | 3490 | 1188 | 127091
2017 | 302078 | 9860.0429 | 311938.0429 | 236378 | 5041 | 2684 | 244103 | 113075 | 3464 | 1390 | 117929
2018 | 319173 | 10582 | 329755 | 252509 | 4972 | 2531 | 260012 | 128097 | 3387 | 1272 | 132756
2019 | 364661 | 9664 | 374325 | 277900 | 5202 | 2061 | 285163 | 146820 | 3146 | 1039 | 151005 | 2019
Total | 2266959.7898 | 96094.2531 | 2363054.0429 | 1852546 | 54880 | 18900 | 1926326 | 797626 | 33359 | 9508 | 840493
*Total U.S. distributed PV installations are based on data from Interstate Renewable Energy Council (IREC) for all years through 2010 and from Wood Mackenzie and SEIA's annual year-in-review Solar Market Insight report for each year thereafter.

## System Size Distribution
System Size Distribution for 2019 Systems
Residential |  |  |  | Non-Residential
System Size (kW) | Percent of Systems | Percent of Capacity | x-axis | System Size (kW) | Percent of Systems | Percent of Capacity
0 | 0.03418% | 0.001143% |  | 0 | 36.95% | 1.908%
0.5 | 0.03167% | 0.003178% |  | 25 | 20.09% | 3.183%
1 | 0.1781% | 0.02773% |  | 50 | 8.873% | 2.364%
1.5 | 0.2238% | 0.04922% |  | 75 | 5.759% | 2.223%
2 | 2.236% | 0.6206% |  | 100 | 13.81% | 9.518%
2.5 | 3.752% | 1.259% |  | 250 | 6.503% | 10.14%
3 | 5.504% | 2.162% |  | 500 | 1.984% | 5.287%
3.5 | 5.399% | 2.488% |  | 750 | 1.309% | 5.078%
4 | 7.235% | 3.757% |  | 1000 | 1.901% | 10.83%
4.5 | 5.872% | 3.418% |  | 2000 | 1.392% | 15.83%
5 | 7.287% | 4.663% |  | 3000 | 0.372% | 5.268%
5.5 | 6.901% | 4.881% |  | 4000 | 0.1791% | 3.508%
6 | 6.031% | 4.625% |  | >5000 | 0.8818% | 24.87%
6.5 | 5.44% | 4.497%
7 | 5.417% | 4.801%
7.5 | 5.471% | 5.184%
8 | 4.213% | 4.247%
8.5 | 4.384% | 4.7%
9 | 3.293% | 3.735%
9.5 | 3.137% | 3.748%
10 | 2.834% | 3.553%
10.5 | 1.956% | 2.573%
11 | 1.907% | 2.622%
11.5 | 2.098% | 3.022%
12 | 1.203% | 1.804%
12.5 | 1.144% | 1.787%
13 | 0.9475% | 1.537%
13.5 | 0.778% | 1.308%
14 | 0.7154% | 1.249%
14.5 | 0.7247% | 1.312%
15 | 0.5002% | 0.9339%
15.5 | 0.3195% | 0.6163%
16 | 0.3069% | 0.6113%
16.5 | 0.226% | 0.4631%
17 | 0.24% | 0.5064%
17.5 | 0.2508% | 0.5467%
18 | 0.1371% | 0.3068%
18.5 | 0.1457% | 0.3343%
19 | 0.1205% | 0.2844%
19.5 | 0.1846% | 0.4484%
>20 | 1.221% | 15.31%

## System Size Trends
System Size Trends over Time
Year | Residential |  |  |  | Non-Residential |  |  |  | x-axis labels
1998 | Median | 20th Percentile | 80th Percentile | Percentile Band | Median | 20th Percentile | 80th Percentile | Percentile Band | Res. | Non-Res.
1998 | 2.2872 | 0.846 | 4.306 | 3.46 | - | - | - | -
1999 | 2.7486 | 1.3894 | 4.943 | 3.5536 | - | - | - | -
2000 | 2.4 | 0.9727 | 4.5211 | 3.5484 | - | - | - | - | 2000
2001 | 2.6417 | 1.8072 | 4.433 | 2.6258 | 5.7488 | 2.2716 | 38.636 | 36.3645 |  | 2001
2002 | 2.97 | 2.1294 | 5.6755 | 3.5462 | 10.9008 | 2.7657 | 58.5133 | 55.7475
2003 | 3.06 | 2.4 | 6 | 3.6 | 11.88 | 3 | 55.102 | 52.102
2004 | 3.33 | 2.475 | 6 | 3.525 | 11.4994 | 3.4714 | 45.4953 | 42.0239
2005 | 4.008 | 2.672 | 7.1805 | 4.5085 | 11.88 | 3.9648 | 69.9857 | 66.0209
2006 | 4.2 | 2.76 | 7 | 4.24 | 11.04 | 3.74 | 68.6292 | 64.8892
2007 | 4.3 | 2.6 | 7 | 4.4 | 10.755 | 4.5342 | 63 | 58.4658
2008 | 4.14 | 2.45 | 6.732 | 4.282 | 12.285 | 4.51 | 82.9176 | 78.4076
2009 | 4.725 | 2.8 | 7.256 | 4.456 | 16 | 5.673 | 55.825 | 50.152
2010 | 5.148 | 3.06 | 8.1 | 5.04 | 21.8475 | 8.1 | 75.0522 | 66.9522
2011 | 5.16 | 3.0857 | 8.14 | 5.0543 | 29.4 | 9.66 | 111.902 | 102.242
2012 | 5.28 | 3.185 | 8.16 | 4.975 | 28.55 | 9.1524 | 138.18 | 129.0276
2013 | 5.64 | 3.5 | 8.33 | 4.83 | 30.24 | 10.12 | 154.7 | 144.58
2014 | 5.8408 | 3.85 | 8.5 | 4.65 | 25.38 | 11 | 114.07 | 103.07
2015 | 6 | 4 | 8.835 | 4.835 | 25.65 | 8.169 | 132.4028 | 124.2338
2016 | 6.16 | 4.0324 | 9.1 | 5.0676 | 27.035 | 7.42 | 167.4 | 159.98
2017 | 6.3 | 4.14 | 9.35 | 5.21 | 45.6 | 12.935 | 232.88 | 219.945
2018 | 6.4 | 4.13 | 9.6 | 5.47 | 46.08 | 14.04 | 201 | 186.96
2019 | 6.48 | 4.16 | 9.72 | 5.56 | 39.96 | 11.88 | 163.104 | 151.224 | 2019 | 2009

## Efficiency Trends
Module Efficiency Trends over Time
Year | Residential |  | Small Non-Residential |  | Large Non-Residential |  | x-axis labels
1998 | Median Module Efficiency | Mono-Crystalline Share | Median Module Efficiency | Mono-Crystalline Share | Median Module Efficiency | Mono-Crystalline Share | Res. | Small Non-Res | Large Non-Res
1998 | - | - | - | - | - | -
1999 | - | - | - | - | - | -
2000 | - | - | - | - | - | -
2001 | - | - | - | - | - | -
2002 | 12.68% | 0% | - | - | - | - | 2002
2003 | 12.68% | 2.02% | - | - | - | -
2004 | 13.05% | 8.296% | 13.05% | 23.53% | - | - |  | 2004
2005 | 13.05% | 36.33% | 13.05% | 35.19% | - | -
2006 | 13.45% | 33.3% | 13.73% | 40.58% | - | -
2007 | 13.45% | 31.62% | 13.07% | 26.34% | 13.05% | 25.93% |  |  | 2007
2008 | 14.11% | 43.52% | 13.38% | 31.29% | 13.4% | 24.34%
2009 | 14.11% | 49% | 13.71% | 37.67% | 13.73% | 37.63%
2010 | 14.14% | 52.44% | 14.11% | 38.71% | 14.08% | 26.05%
2011 | 14.48% | 50.78% | 14.24% | 30.77% | 14.21% | 22.37%
2012 | 14.94% | 48.94% | 14.72% | 35.91% | 14.52% | 27.37%
2013 | 15.39% | 32.19% | 15.26% | 27.29% | 15.14% | 25.46%
2014 | 15.83% | 30.4% | 15.64% | 34.05% | 15.52% | 26.71%
2015 | 16.38% | 33.27% | 16.14% | 42.36% | 16.04% | 33.26%
2016 | 16.71% | 38.98% | 16.38% | 39.11% | 16.51% | 38.42%
2017 | 17.58% | 68.33% | 17.14% | 56.14% | 17.09% | 50.9%
2018 | 18.83% | 82.83% | 17.89% | 66.59% | 17.52% | 58.35%
2019 | 19.44% | 87.1% | 19.01% | 73.03% | 18.55% | 66.23% | 2019 | 2019 | 2019

## Efficiency Distribution
Module Efficiency Distributions for Systems Installed in 2019
Efficiency | Residential |  |  | Small Non-Residential |  |  | Large Non-Residential
| Poly | Mono | Other | Poly | Mono | Other | Poly | Mono | Other
<14% | 0.05739% | 0.01457% | 0.005921% | 0.06207% | 0.06207% | 0% | 0% | 0% | 0%
14% | 0.03507% | 0.006376% | 0.0004554% | 0.06207% | 0.03104% | 0% | 0% | 0% | 0%
14.5% | 0.05739% | 0.009109% | 0% | 0.2793% | 0.1241% | 0% | 0.08177% | 0% | 0%
15% | 0.1571% | 0.1084% | 0.0004554% | 0.2483% | 0.09311% | 0% | 0.1635% | 0.1635% | 0%
15.5% | 0.2901% | 1.318% | 0.001822% | 0.7138% | 0.3724% | 0.06207% | 0.3271% | 0.2453% | 0.1635%
16% | 0.5142% | 0.3712% | 0.0009109% | 1.459% | 0.1862% | 0.06207% | 2.371% | 0.1635% | 0%
16.5% | 0.7323% | 0.3357% | 0.002733% | 4.811% | 1.273% | 0.03104% | 8.013% | 1.308% | 0.08177%
17% | 7.86% | 1.14% | 0.09746% | 10.68% | 2.39% | 0% | 14.72% | 2.617% | 0%
17.5% | 0.2719% | 2.472% | 0.0009109% | 4.624% | 7.976% | 0.03104% | 3.679% | 9.158% | 0.08177%
18% | 0.9774% | 8.906% | 0% | 1.521% | 6.145% | 0% | 1.39% | 4.579% | 0%
18.5% | 0.1585% | 7.322% | 0.003644% | 1.086% | 5.525% | 0% | 1.717% | 4.906% | 0%
19% | 1.099% | 23.41% | 0.001366% | 0.7138% | 13.1% | 0% | 0.4906% | 10.14% | 0.08177%
19.5% | 0.5634% | 14.53% | 0.001822% | 0.4655% | 13.53% | 0% | 0.4088% | 12.1% | 0%
20% | 0.007287% | 8.396% | 0.002733% | 0.03104% | 10.12% | 0.03104% | 0% | 14.64% | 0%
20.5% | 0.002277% | 8.509% | 0% | 0% | 2.359% | 0% | 0% | 0.3271% | 0%
21% | 0% | 2.351% | 0% | 0% | 1.241% | 0% | 0% | 0.9812% | 0%
21.5% | 0% | 2.539% | 0% | 0% | 3.476% | 0% | 0% | 2.617% | 0%
22% | 0% | 4.624% | 0% | 0% | 4.904% | 0% | 0% | 2.289% | 0%
22.5% | 0% | 0.7355% | 0% | 0% | 0.1241% | 0% | 0% | 0% | 0%

## MLPE Trends
Penetration of Module-Level Power Electronics over Time
Year | Residential |  |  | Small Non-Residential |  |  | Large Non-Residential
| Microinverter | DC Optimizer | No MLPE | Microinverter | DC Optimizer | No MLPE | Microinverter | DC Optimizer | No MLPE | x-axis labels
1998 | 0% | 0% | 100% | - | - | - | - | - | -
1999 | 0% | 0% | 100% | - | - | - | - | - | -
2000 | 1.163% | 0% | 98.84% | - | - | - | - | - | -
2001 | 0% | 0% | 100% | 0% | 0% | 100% | - | - | -
2002 | 0% | 0% | 100% | 0% | 0% | 100% | 0% | 0% | 100%
2003 | 0% | 0% | 100% | 0% | 0% | 100% | 5.882% | 0% | 94.12%
2004 | 0% | 0% | 100% | 0% | 0% | 100% | 0% | 0% | 100%
2005 | 0.02422% | 0% | 99.98% | 0% | 0% | 100% | 2.041% | 0% | 97.96%
2006 | 0.0292% | 0.0146% | 99.96% | 0.2933% | 0% | 99.71% | 0% | 0% | 100%
2007 | 0.08432% | 0% | 99.92% | 0% | 0.207% | 99.79% | 0% | 0% | 100%
2008 | 0.4605% | 0.06082% | 99.48% | 0.333% | 0% | 99.67% | 0% | 0.3788% | 99.62% | 2008
2009 | 3.875% | 0.02425% | 96.1% | 2.441% | 0% | 97.56% | 0% | 0% | 100%
2010 | 13.3% | 0.03793% | 86.66% | 4.632% | 0% | 95.37% | 2.43% | 0% | 97.57%
2011 | 21.04% | 0.3767% | 78.58% | 9.868% | 0.02928% | 90.1% | 1.709% | 0.0777% | 98.21%
2012 | 24.08% | 1.552% | 74.36% | 15.49% | 0.1817% | 84.32% | 2.213% | 0.06707% | 97.72%
2013 | 30.96% | 4.094% | 64.95% | 19.82% | 1.405% | 78.77% | 2.627% | 0.08475% | 97.29%
2014 | 30.99% | 13.71% | 55.3% | 22.21% | 6.476% | 71.31% | 1.749% | 1.166% | 97.08%
2015 | 26.63% | 23.96% | 49.41% | 23.54% | 18.71% | 57.74% | 1.533% | 4.238% | 94.23%
2016 | 30.21% | 28.14% | 41.66% | 18.26% | 20.68% | 61.06% | 1.824% | 6.214% | 91.96%
2017 | 38.13% | 34.09% | 27.78% | 21.42% | 29.78% | 48.8% | 1.642% | 9.104% | 89.25%
2018 | 32.93% | 41.2% | 25.86% | 18.66% | 35.17% | 46.17% | 1.005% | 10.85% | 88.15%
2019 | 33.3% | 53.89% | 12.81% | 22.7% | 44.71% | 32.59% | 1.077% | 14.5% | 84.42% | 2019
Notes: DC Optimizer share consists of only systems with SolarEdge inverters and may therefore slightly understate the actual share of power optimizers in the data sample.

## Storage Trends
Storage Attachment Rates
State | Residential |  |  |  | Non-Residential
| 2016 | 2017 | 2018 | 2019 | 2016 | 2017 | 2018 | 2019
California | 0.0939% | 1.095% | 5.056% | 5.408% | 1.264% | 1.858% | 4.679% | 3.436%
Hawaii | 0.9398% | 23.87% | 64.49% | 74.82% | 0% | 2.747% | 20.63% | 30.58%
U.S. Total | 0.1688% | 1.116% | 3.945% | 4.376% | 1.616% | 1.017% | 2.337% | 1.673%
Hawaii values to plot
upper fig | -120% | 23.87% | 64.49% | 74.82% | 0% | -36% | 20.63% | 30.58%
lower fig | 0.9398% | 7.6% | 64.49% | 74.82% | 0% | 2.747% | 8.5% | 30.58%

## TPO Trend
Third-Party Ownership (TPO) Shares over Time
| 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Residential | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0.01744% | 3.223% | 4.754% | 7.3% | 14.61% | 35.7% | 59.4% | 51.82% | 51.83% | 56.79% | 53.82% | 43.08% | 38.33% | 37.49%
Small Non-Residential | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0.3509% | 5.044% | 8.039% | 6.319% | 8.318% | 15.81% | 23.63% | 24.03% | 16.29% | 22.37% | 29.66% | 14.84% | 12.84% | 12.43%
Large Non-Residential | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 15.87% | 44.61% | 35.35% | 26.62% | 40.46% | 42.51% | 42.19% | 26.79% | 23.27% | 29.54% | 36.97% | 35.63% | 30.46%
x-axis labels |  |  | 2000 | [18 empty] | 2019

## TPO by State
Third-Party Ownership (TPO) Shares by State
State | TPO Share
| Residential | Small Non-Residential | Large Non-Residential
AZ | 32.74% | Intentionally Blank
CA | 35.28%
CO | 25.91%
CT | 79.06%
DC | 43.61%
IL | 42.27%
MA | 58.84%
NC | 0%
NH | 0%
NJ | 61.15%
NV | 32.78%
NY | 35.92%
OR | 0.9106%
WI | 0%
CA | Intentionally Blank | 9.64% | Intentionally Blank
CO |  | 9.524%
DC |  | 70.59%
IL |  | 3.982%
MA |  | 42.08%
NC |  | 0%
NH |  | 0%
NJ |  | 35.18%
NV |  | 14.29%
NY |  | 3.794%
OR |  | 11.11%
WI |  | 0%
CA | Intentionally Blank |  | 22.54%
CO |  |  | 40.62%
IL |  |  | 8.621%
MA |  |  | 31.43%
NC |  |  | 0%
NJ |  |  | 47.9%
NY |  |  | 56.1%
OR |  |  | 4.348%

## Non-Res Segmentation Trend
Non-Residential Customer Segmentation over Time
Year | Small Non-Residential |  |  |  | Large Non-Residential |  |  |  | x-axis labels
| Commercial | Government | School | Non-Profit | Commercial | Government | School | Non-Profit
1998 | - | - | - | - | - | - | - | -
1999 | - | - | - | - | - | - | - | -
2000 | - | - | - | - | - | - | - | -
2001 | 96.88% | 0% | 3.125% | 0% | - | - | - | -
2002 | 91.61% | 1.399% | 5.594% | 1.399% | 78.26% | 21.74% | 0% | 0%
2003 | 92.09% | 2.791% | 3.721% | 1.395% | 78.26% | 17.39% | 0% | 4.348%
2004 | 88.37% | 3.779% | 4.942% | 2.907% | 97.06% | 2.941% | 0% | 0%
2005 | 77.88% | 4.673% | 10.9% | 6.542% | 82.86% | 8.571% | 7.143% | 1.429%
2006 | 69.11% | 5.759% | 19.11% | 6.021% | 79.81% | 5.769% | 13.46% | 0.9615%
2007 | 81.29% | 5.591% | 6.452% | 6.667% | 87.16% | 6.757% | 4.73% | 1.351%
2008 | 68.84% | 8.649% | 6.161% | 16.35% | 85.56% | 7.22% | 1.805% | 5.415%
2009 | 73.41% | 11.1% | 7.369% | 8.116% | 58.48% | 29.07% | 9.689% | 2.768%
2010 | 73.2% | 13.22% | 7.388% | 6.191% | 68.51% | 13.29% | 14.93% | 3.272% | 2010
2011 | 70.01% | 17.22% | 6.109% | 6.664% | 65.42% | 17.76% | 13.08% | 3.738%
2012 | 73.61% | 12.57% | 4.293% | 9.527% | 58.48% | 26.12% | 10.66% | 4.743%
2013 | 75.96% | 8.757% | 6.086% | 9.194% | 56.18% | 24.21% | 16.2% | 3.41%
2014 | 78.13% | 8.28% | 4.459% | 9.13% | 59.77% | 26.53% | 9.427% | 4.276%
2015 | 74.7% | 5.235% | 2.708% | 17.36% | 73.79% | 13.06% | 8.501% | 4.645%
2016 | 65.68% | 16.79% | 2.712% | 14.82% | 71.19% | 9.944% | 15.08% | 3.785%
2017 | 79.34% | 5.889% | 4.538% | 10.24% | 72.97% | 7.267% | 17.64% | 2.132%
2018 | 81.15% | 5.412% | 4.231% | 9.211% | 72.07% | 5.543% | 19.18% | 3.207%
2019 | 81.07% | 5.537% | 3.431% | 9.961% | 74.96% | 5.126% | 15.82% | 4.086% | 2019

## Non-Res Segmentation
Non-Residential Customer Segmentation and TPO Shares
State | Percent of Non-Residential Systems |  |  |  | TPO Percent
| Commercial | Government | Non-Profit | School | Commercial | All Tax-Exempt
CA | 80.74% | 4.762% | 6.183% | 8.316% | 8.803% | 30.81%
NJ | 71.01% | 4.22% | 13.94% | 10.83% | 23.77% | 82.28%
IL | 94.41% | 3.497% | 2.098% | 0% | 2.239%
MA | 79.76% | 6.478% | 10.53% | 3.239% | 45.83% | 51.22%
VT | 89.92% | 5.042% | 0% | 5.042%
NM | 57.95% | 27.27% | 6.818% | 7.955%
NV | 20.48% | 0% | 79.52% | 0% |  | 16.67%
UT | 100% | 0% | 0% | 0%
NH | 90.16% | 0% | 3.279% | 6.557% | 0%
WI | 84.21% | 15.79% | 0% | 0% | 0%
NC | 64.81% | 1.852% | 20.37% | 12.96% | 0%
TX | 100% | 0% | 0% | 0%
Notes: TPO shares shown only if at least 20 observations available.

## Price Trends
Installed Price Trends over Time
Year | Residential |  |  |  | Small Non-Residential |  |  |  | Large Non-Residential |  |  |  | x-axis for figure
| Median | 20th Percentile | 80th Percentile | Percentile Band | Median | 20th Percentile | 80th Percentile | Percentile Band | Median | 20th Percentile | 80th Percentile | Percentile Band | Res. | Small Non-Res. | Large Non-Res.
1998 | - | - | - | - | - | - | - | - | - | - | - | -
1999 | 8.7827 | 5.8582 | 14.0456 | 8.1874 | - | - | - | - | - | - | - | -
2000 | 12.2772 | 7.4208 | 14.4317 | 7.0109 | - | - | - | - | - | - | - | - | 2000
2001 | 11.9297 | 10.3411 | 14.9205 | 4.5794 | - | - | - | - | - | - | - | -
2002 | 12.1715 | 10.4826 | 14.4358 | 3.9532 | 11.372 | 10.1646 | 13.8684 | 3.7038 | - | - | - | - |  | 2002
2003 | 10.8292 | 9.5177 | 12.4654 | 2.9477 | 10.9774 | 9.6772 | 12.8813 | 3.2041 | - | - | - | -
2004 | 10.1089 | 8.837 | 11.3617 | 2.5247 | 10.0447 | 8.9768 | 11.5795 | 2.6027 | 9.2693 | 8.314 | 10.0905 | 1.7765 |  |  | 2004
2005 | 9.7001 | 8.6406 | 10.6602 | 2.0196 | 9.911 | 8.7115 | 10.9826 | 2.2711 | 8.8214 | 7.704 | 9.6561 | 1.9521
2006 | 9.7658 | 8.7845 | 10.7796 | 1.9951 | 10.0942 | 8.6046 | 12.6311 | 4.0265 | 8.5987 | 7.7282 | 9.4352 | 1.707
2007 | 9.8978 | 8.926 | 10.9171 | 1.9912 | 9.9242 | 8.8807 | 11.2658 | 2.3851 | 8.5138 | 7.2468 | 9.8789 | 2.632
2008 | 9.4892 | 8.5215 | 10.5523 | 2.0309 | 9.5244 | 8.4723 | 10.7523 | 2.28 | 8.4459 | 7.2401 | 9.775 | 2.5349
2009 | 9.0106 | 7.8765 | 10.2488 | 2.3722 | 9.2388 | 7.8885 | 10.632 | 2.7435 | 8.0171 | 6.3775 | 9.1588 | 2.7813
2010 | 7.6325 | 6.5428 | 9.1361 | 2.5933 | 7.5977 | 6.2289 | 9.3449 | 3.116 | 6.3566 | 5.4995 | 7.678 | 2.1785
2011 | 6.7928 | 5.746 | 8.3699 | 2.6239 | 6.4844 | 5.4341 | 8.0377 | 2.6036 | 5.482 | 4.7029 | 6.8881 | 2.1852
2012 | 5.7094 | 4.6981 | 7.4657 | 2.7676 | 5.6497 | 4.6356 | 7.1737 | 2.5381 | 4.9859 | 3.9717 | 6.639 | 2.6673
2013 | 4.907 | 4.0246 | 6.096 | 2.0714 | 4.5726 | 3.736 | 5.9059 | 2.1699 | 4.0486 | 3.1246 | 5.849 | 2.7244
2014 | 4.5098 | 3.7814 | 5.6267 | 1.8454 | 4.0717 | 3.3662 | 5.2674 | 1.9012 | 3.3263 | 2.6186 | 4.5949 | 1.9763
2015 | 4.4161 | 3.7547 | 5.3661 | 1.6113 | 3.874 | 3.2124 | 4.8595 | 1.6471 | 3.0195 | 2.2898 | 3.8641 | 1.5743
2016 | 4.2339 | 3.5859 | 5.192 | 1.6061 | 3.6417 | 2.9579 | 4.5328 | 1.5749 | 2.6936 | 2.1668 | 3.7763 | 1.6095
2017 | 3.9913 | 3.2506 | 4.8777 | 1.6271 | 3.2869 | 2.6031 | 4.2684 | 1.6653 | 2.5706 | 2.0155 | 3.5038 | 1.4883
2018 | 3.7825 | 3.0916 | 4.558 | 1.4665 | 3.0614 | 2.4925 | 4.0278 | 1.5352 | 2.442 | 1.8484 | 3.3392 | 1.4908
2019 | 3.758 | 3.0536 | 4.4842 | 1.4306 | 3.0624 | 2.4155 | 4.2181 | 1.8026 | 2.3393 | 1.776 | 3.1291 | 1.353 | 2019 | 2019 | 2019
Notes: Percentile Range represents the band between the 20th and 80th percentile values in each year. Statistics shown only if at least 20 observations available for a given year and customer segment.

## Component Cost Trends
Underlying Trends in Component Costs
Year | Median Installed Price |  |  | Module Price Index |  |  | Inverter Price Index |  |  | Residual BoS+soft costs |  |  | x-axis for figure
| Res. | Small Non-Res. | Large Non-Res. | Res. | Small Non-Res. | Large Non-Res. | Res. | Small Non-Res. | Large Non-Res. | Res. | Small Non-Res. | Large Non-Res. | Res. | Small Non-Res. | Large Non-Res.
1998 |  |  |  | 5.5266 | 5.2471 | 4.9677 | 1.3815 | 1.0607 | 0.73984
1999 | 8.7827 |  |  | 5.0264 | 4.7722 | 4.518 | 1.281 | 0.98355 | 0.68606 | 1.8746
2000 | 12.2772 |  |  | 4.0524 | 3.8475 | 3.6426 | 1.1879 | 0.91205 | 0.63618 | 5.9697 |  |  | 2000
2001 | 11.9297 |  |  | 3.797 | 3.605 | 3.413 | 1.1016 | 0.84575 | 0.58994 | 6.6893
2002 | 12.1715 | 11.372 |  | 3.879 | 3.6828 | 3.4867 | 1.0215 | 0.78427 | 0.54705 | 7.2729 | 6.4734 |  |  | 2002
2003 | 10.8292 | 10.9774 |  | 3.6546 | 3.4698 | 3.285 | 0.91322 | 0.70114 | 0.48907 | 5.9288 | 6.0769
2004 | 10.1089 | 10.0447 | 9.2693 | 3.8957 | 3.6987 | 3.5017 | 0.89293 | 0.68557 | 0.4782 | 5.5411 | 5.4768 | 4.7014 |  |  | 2004
2005 | 9.7001 | 9.911 | 8.8214 | 3.9369 | 3.7378 | 3.5388 | 0.85018 | 0.65274 | 0.45531 | 4.9114 | 5.1224 | 4.0328
2006 | 9.7658 | 10.0942 | 8.5987 | 4.267 | 4.0513 | 3.8355 | 0.87469 | 0.67156 | 0.46844 | 4.9787 | 5.307 | 3.8116
2007 | 9.8978 | 9.9242 | 8.5138 | 4.2835 | 4.0669 | 3.8503 | 0.62457 | 0.47953 | 0.33449 | 4.7561 | 4.7825 | 3.3721
2008 | 9.4892 | 9.5244 | 8.4459 | 3.8305 | 3.6368 | 3.4431 | 0.59908 | 0.45995 | 0.32083 | 4.5812 | 4.6164 | 3.5379
2009 | 9.0106 | 9.2388 | 8.0171 | 2.5785 | 2.4481 | 2.3177 | 0.58471 | 0.44892 | 0.31314 | 4.5811 | 4.8093 | 3.5876
2010 | 7.6325 | 7.5977 | 6.3566 | 2.2701 | 2.2308 | 2.1915 | 0.57394 | 0.44065 | 0.30737 | 4.4693 | 4.4344 | 3.1933
2011 | 6.7928 | 6.4844 | 5.482 | 1.5593 | 1.5323 | 1.5053 | 0.54036 | 0.41488 | 0.28939 | 3.9488 | 3.6404 | 2.6379
2012 | 5.7094 | 5.6497 | 4.9859 | 1.0226 | 1.0049 | 0.98717 | 0.50138 | 0.39354 | 0.2857 | 3.6098 | 3.5501 | 2.8863
2013 | 4.907 | 4.5726 | 4.0486 | 0.98352 | 0.9665 | 0.94948 | 0.43131 | 0.33651 | 0.2417 | 3.3831 | 3.0486 | 2.5247
2014 | 4.5098 | 4.0717 | 3.3263 | 0.85314 | 0.82344 | 0.79374 | 0.38607 | 0.27808 | 0.17009 | 3.095 | 2.6569 | 1.9115
2015 | 4.4161 | 3.874 | 3.0195 | 0.75775 | 0.74831 | 0.73887 | 0.30202 | 0.22112 | 0.14022 | 3.1769 | 2.6348 | 1.7802
2016 | 4.2339 | 3.6417 | 2.6936 | 0.56456 | 0.56323 | 0.5619 | 0.25032 | 0.17842 | 0.10652 | 3.1741 | 2.5819 | 1.6338
2017 | 3.9913 | 3.2869 | 2.5706 | 0.48238 | 0.46543 | 0.44848 | 0.22424 | 0.15514 | 0.086046 | 3.1764 | 2.472 | 1.7557
2018 | 3.7825 | 3.0614 | 2.442 | 0.58542 | 0.49761 | 0.40979 | 0.21381 | 0.14635 | 0.078904 | 3.0759 | 2.3548 | 1.7354
2019 | 3.758 | 3.0624 | 2.3393 | 0.435 | 0.39 | 0.345 | 0.2175 | 0.14875 | 0.08 | 2.9588 | 2.2632 | 1.54 | 2019 | 2019 | 2019

## State YoY Trend
Annual Change in Median Installed Price for Largest State Markets in the Data Sample
Segment | State | Median ($/W) |  | YoY Change |  |  | Line for U.S. Medians
|  | 2018 | 2019 | Residential | Small Non-Res. | Large Non-Res. | x-value | Residential | Small Non-Res. | Large Non-Res.
Residential | CA | 3.8772 | 3.8131 | -0.0641 |  |  | 1.1 | -0.02448
| AZ | 3.3339 | 3.6037 | 0.2698 |  |  | 2 | -0.02448
| NV | 3.7793 | 3.9513 | 0.17204 |  |  | 3 | -0.02448
| NJ | 3.68 | 3.5887 | -0.091244 |  |  | 4 | -0.02448
| MA | 3.8497 | 3.5718 | -0.27785 |  |  | 5.6 | -0.02448
Small Non-Residential | CA | 3.1537 | 3.2025 |  | 0.048737 |  | 5.7 |  | 0.0010056
| NY | 3.0167 | 3.014 |  | -0.0026891 |  | 7 |  | 0.0010056
| MN | 3.5543 | 3.0499 |  | -0.50439 |  | 8 |  | 0.0010056
| NJ | 2.8834 | 2.8058 |  | -0.077571 |  | 9 |  | 0.0010056
| MA | 3.2551 | 3.4866 |  | 0.23146 |  | 10.35 |  | 0.0010056
Large Non-Residential | CA | 2.5988 | 2.4583 |  |  | -0.14049 | 10.4 |  |  | -0.10275
| NJ | 2.2788 | 2.0752 |  |  | -0.20353 | 12 |  |  | -0.10275
| NY | 2.5235 | 2.4262 |  |  | -0.097332 | 13 |  |  | -0.10275
| AZ | 2.5194 | 2.3965 |  |  | -0.12289 | 14 |  |  | -0.10275
| MA | 2.5285 | 2.732 |  |  | 0.20353 | 14.9 |  |  | -0.10275

## TPO Price Trends
Comparison of Installed Prices between TPO and Host-Owned Systems
Segement | Year | TPO | Host-Owned | TPO | Host-Owned | TPO | Host-Owned
Residential | 2010 | 8.06 | 7.6325
|  | 7.4385 | 6.7928
|  | 5.6367 | 5.7094
|  | 5.442 | 4.907
|  | 5.1385 | 4.5098
|  | 5.0777 | 4.4161
|  | 4.7045 | 4.2339
|  | 3.9846 | 3.9913
|  | 3.7882 | 3.7825
| 2019 | 3.7874 | 3.758
Small Non-Residential | 2010 |  |  | 7.0648 | 7.5977
|  |  |  | 5.9197 | 6.4844
|  |  |  | 5.5469 | 5.6497
|  |  |  | 5.2475 | 4.5726
|  |  |  | 4.3523 | 4.0717
|  |  |  | 4.2084 | 3.874
|  |  |  | 3.7671 | 3.6417
|  |  |  | 3.2916 | 3.2869
|  |  |  | 3.0362 | 3.0614
| 2019 |  |  | 3.1678 | 3.0624
Large Non-Residential | 2010 |  |  |  |  | 6.1342 | 6.3566
[6 empty] | 5.4271 | 5.482
[6 empty] | 5.0248 | 4.9859
[6 empty] | 4.0041 | 4.0486
[6 empty] | 3.4464 | 3.3263
[6 empty] | 3.227 | 3.0195
[6 empty] | 3.1273 | 2.6936
[6 empty] | 2.2577 | 2.5706
[6 empty] | 2.3137 | 2.442
| 2019 |  |  |  |  | 1.9381 | 2.3393

## Price Histogram
Installed Price Distributions for Systems Installed in 2019
Installed Price Bin | Residential | Small Non-Residential | Large Non-Residential
1 | 0.2309% | 0.4768% | 1.925%
1.25 | 0.3998% | 0.8582% | 4.427%
1.5 | 0.4747% | 1.653% | 12.22%
1.75 | 1.302% | 3.942% | 14.63%
2 | 1.485% | 5.912% | 12.32%
2.25 | 2.402% | 10.81% | 12.22%
2.5 | 4.214% | 11.41% | 7.796%
2.75 | 7.682% | 11.38% | 9.336%
3 | 9.192% | 10.43% | 7.411%
3.25 | 11% | 8.264% | 4.331%
3.5 | 11.23% | 6.167% | 3.272%
3.75 | 11.69% | 5.022% | 1.347%
4 | 11.05% | 4.387% | 1.444%
4.25 | 8.39% | 6.643% | 1.732%
4.5 | 5.132% | 2.161% | 0.8662%
4.75 | 3.405% | 1.844% | 0.5775%
5 | 2.367% | 1.303% | 0.4812%
5.25 | 1.837% | 1.399% | 0.2887%
5.5 | 1.362% | 0.6675% | 0.385%
5.75 | 1.183% | 0.9218% | 0.1925%
6 | 0.803% | 0.3179% | 0.1925%
6.25 | 0.5803% | 0.5086% | 0.09625%
6.5 | 0.4318% | 0.2225% | 0.385%
6.75 | 0.4557% | 0.3497% | 0%
7 | 0.3249% | 0.03179% | 0.385%
7.25 | 0.2241% | 0.1907% | 0%
7.5 | 0.1805% | 0.2543% | 0%
7.75 | 0.1424% | 0.2543% | 0.09625%
8 | 0.1131% | 0.2225% | 0.1925%
8.25 | 0.08922% | 0.1271% | 0%
8.5 | 0.06607% | 0.1589% | 0%
8.75 | 0.0613% | 0.06357% | 0.09625%
9 | 0.05176% | 0.03179% | 0.09625%
9.25 | 0.05108% | 0% | 0.2887%
9.5 | 0.03269% | 0.1589% | 0.09625%
9.75 | 0.04632% | 0% | 0.09625%
10 | 0.3276% | 1.462% | 0.77%

## Economies of Scale
Installed Price Differences by System Size
2019 Residential Systems
Residential System Size (kW)
| ≤2 | 2-3 | 3-4 | 4-5 | 5-6 | 6-7 | 7-8 | 8-9 | 9-10 | 10-11 | 11-12 | >12
Number of Systems | 719 | 6101 | 13308 | 19156 | 22144 | 18082 | 17069 | 13644 | 9792 | 7530 | 5891 | 13384
Median $/W | 4.4668 | 4.2521 | 4.2249 | 4.0753 | 3.8863 | 3.7756 | 3.6841 | 3.5957 | 3.5267 | 3.485 | 3.3942 | 3.2874
Delta to 20th percentile | 0.92505 | 0.87974 | 0.76782 | 0.74034 | 0.67 | 0.65525 | 0.64832 | 0.62296 | 0.59671 | 0.58403 | 0.58624 | 0.56716
Delta to 80th percentile | 2.614 | 1.0822 | 0.76666 | 0.69836 | 0.69395 | 0.67363 | 0.66876 | 0.65098 | 0.66115 | 0.6269 | 0.64131 | 0.64566
2019 Non-Residential Systems
| Small Non-Residential |  |  |  | Large Non-Residential
| ≤10 | 10-20 | 20-50 | 50-100 | 100-250 | 250-500 | 500-1000 | >1000
Number of Systems | Residential System Size (kW) ≤2: 782; Residential System Size (kW) 2-3: 698; Residential System Size (kW) 3-4: 1070; Residential System Size (kW) 4-5: 596; Residential System Size (kW) 5-6: Intentionally Blank
Median $/W | Residential System Size (kW) ≤2: 3.8861; Residential System Size (kW) 2-3: 3.1061; Residential System Size (kW) 3-4: 2.9187; Residential System Size (kW) 4-5: 2.6966
Delta to 20th percentile | Residential System Size (kW) ≤2: 1.0037; Residential System Size (kW) 2-3: 0.59229; Residential System Size (kW) 3-4: 0.55981; Residential System Size (kW) 4-5: 0.51581
Delta to 80th percentile | Residential System Size (kW) ≤2: 0.69141; Residential System Size (kW) 2-3: 0.8966; Residential System Size (kW) 3-4: 0.78605; Residential System Size (kW) 4-5: 0.86642
Number of Systems | Residential System Size (kW) ≤2: Intentionally Blank; Residential System Size (kW) 5-6: 562; Residential System Size (kW) 6-7: 246; Residential System Size (kW) 7-8: 121; Residential System Size (kW) 8-9: 110
Median $/W | Residential System Size (kW) 5-6: 2.4733; Residential System Size (kW) 6-7: 2.2675; Residential System Size (kW) 7-8: 2.1839; Residential System Size (kW) 8-9: 1.8034
Delta to 20th percentile | Residential System Size (kW) 5-6: 0.53095; Residential System Size (kW) 6-7: 0.49228; Residential System Size (kW) 7-8: 0.61099; Residential System Size (kW) 8-9: 0.30154
Delta to 80th percentile | Residential System Size (kW) 5-6: 0.85104; Residential System Size (kW) 6-7: 0.74061; Residential System Size (kW) 7-8: 0.80462; Residential System Size (kW) 8-9: 0.72031

## State Comparison
Installed Price Differences by State
Residential |  |  |  | Line for U.S. Median |  |  | State | Small Non-Residential |  |  | Large Non-Residential |  |  | Line for U.S. Medians
State | Median $/W | Delta to 20th Percentile | Delta to 80th Percentile |  |  |  |  | Median $/W | Delta to 20th Percentile | Delta to 80th Percentile | Median $/W | Delta to 20th Percentile | Delta to 80th Percentile
NH | 2.9833 | 0.42066 | 0.53823 | 1 | 3.758 | Small Non-Residential | NH | 2.4785 | 0.30811 | 0.37697 | Intentionally Blank |  |  | 0 | 3.0624
FL | 3.1767 | 0.40644 | 0.65283 | 2 | 3.758 |  | MD | 2.4873 | 0.25268 | 0.37004 |  |  |  | 2 | 3.0624
DE | 3.2004 | 0.56472 | 1.8555 | 3 | 3.758 |  | WI | 2.5694 | 0.36668 | 0.49151 |  |  |  | 3 | 3.0624
WI | 3.2218 | 0.59921 | 0.86379 | 4 | 3.758 |  | NC | 2.57 | 0.51802 | 1.6846 |  |  |  | 4 | 3.0624
WA | 3.2384 | 0.61375 | 1.0048 | 5 | 3.758 |  | AZ | 2.7402 | 0.74265 | 0.48199 |  |  |  | 5 | 3.0624
MD | 3.2848 | 0.51966 | 1.1959 | 6 | 3.758 |  | NJ | 2.8058 | 0.47186 | 1.0757 |  |  |  | 6 | 3.0624
MN | 3.5506 | 0.49922 | 0.49887 | 7 | 3.758 |  | TX | 2.816 | 0.61201 | 0.64263 |  |  |  | 7 | 3.0624
MA | 3.5718 | 0.54059 | 0.68042 | 8 | 3.758 |  | OR | 2.8203 | 0.59509 | 1.2196 |  |  |  | 8 | 3.0624
NJ | 3.5887 | 0.61743 | 0.5896 | 9 | 3.758 |  | UT | 2.9953 | 0.52997 | 0.64815 |  |  |  | 9 | 3.0624
TX | 3.5932 | 0.59699 | 0.39192 | 10 | 3.758 |  | NY | 3.014 | 0.52883 | 1.5226 |  |  |  | 10 | 3.0624
AZ | 3.6037 | 0.6821 | 0.75465 | 11 | 3.758 |  | MN | 3.0499 | 0.60776 | 0.40741 |  |  |  | 11 | 3.0624
CT | 3.6731 | 0.43307 | 0.51205 | 12 | 3.758 |  | WA | 3.0547 | 0.49712 | 1.1773 |  |  |  | 12 | 3.0624
NM | 3.6757 | 1.0816 | 0.31676 | 13 | 3.758 |  | RI | 3.1234 | 0.22835 | 0.3494 |  |  |  | 13 | 3.0624
UT | 3.7746 | 0.70752 | 0.67299 | 14 | 3.758 |  | CO | 3.1406 | 0.77731 | 1.7214 |  |  |  | 14 | 3.0624
CA | 3.8131 | 0.6756 | 0.70097 | 15 | 3.758 |  | CA | 3.2025 | 0.71097 | 1.0824 |  |  |  | 15 | 3.0624
OR | 3.8672 | 0.87902 | 0.87459 | 16 | 3.758 |  | MA | 3.4866 | 0.74257 | 0.79726 |  |  |  | 16 | 3.0624
NY | 3.8878 | 0.68181 | 0.81798 | 17 | 3.758 |  | NV | 4.3093 | 0.91416 | 0.042585 |  |  |  | 17 | 3.0624 | 2.3393
CO | 3.9429 | 0.94422 | 0.60714 | 18 | 3.758 | Large Non-Residential | NC | Intentionally Blank |  |  | 1.6507 | 0.25576 | 0.60992 | 18 |  | 2.3393
NV | 3.9513 | 1.1557 | 0.59404 | 19 | 3.758 |  | MN |  |  |  | 1.9032 | 0.38279 | 0.9486 | 19 |  | 2.3393
RI | 4.1449 | 0.81297 | 0.63351 | 20 | 3.758 |  | NJ |  |  |  | 2.0752 | 0.31276 | 0.82732 | 20 |  | 2.3393
NC | 4.2424 | 1.2966 | 0.96612 | 21 | 3.758 |  | OR |  |  |  | 2.148 | 0.29079 | 0.4492 | 21 |  | 2.3393
[7 empty] | NH |  |  |  | 2.3131 | 0.34465 | 0.37242 | 22 |  | 2.3393
[7 empty] | AZ |  |  |  | 2.3965 | 0.47882 | 0.60479 | 23 |  | 2.3393
[7 empty] | NY |  |  |  | 2.4262 | 0.68746 | 0.64637 | 24 |  | 2.3393
[7 empty] | CA |  |  |  | 2.4583 | 0.6475 | 0.99995 | 25 |  | 2.3393
[7 empty] | MA |  |  |  | 2.732 | 0.85868 | 0.34267 | 26 |  | 2.3393

## Installer Pricing
Installed Price Differences by Installer
Median Installed Price | 20th Percentile | 80th Percentile | Percentile Band | x-axis label
1.9166 | 1.8368 | 1.9939 | 0.15708 | 1
2.7831 | 2.6954 | 2.8652 | 0.16982
2.8665 | 2.5502 | 3.1829 | 0.63264
2.9242 | 2.8735 | 3.1047 | 0.2312
2.9277 | 2.6406 | 3.1183 | 0.47767
3.0474 | 2.8036 | 3.4646 | 0.66095
3.0995 | 2.6133 | 3.8672 | 1.2539
3.1583 | 2.8462 | 3.6611 | 0.81489
3.1583 | 2.899 | 3.7654 | 0.86644
3.2037 | 2.8948 | 3.8409 | 0.94609
3.2296 | 1.9962 | 4.1312 | 2.135
3.2304 | 2.8873 | 3.6308 | 0.74351
3.2505 | 3.0468 | 3.5815 | 0.53468
3.2597 | 2.8575 | 4.1487 | 1.2912
3.2801 | 2.8911 | 3.9795 | 1.0884
3.2842 | 3.0152 | 3.7497 | 0.73453
3.287 | 2.9981 | 3.9924 | 0.9943
3.3023 | 3.0316 | 3.5267 | 0.49509
3.3177 | 2.9458 | 3.8835 | 0.9377
3.3214 | 2.9232 | 3.7699 | 0.84664
3.3393 | 2.8328 | 4.0339 | 1.2011
3.3596 | 2.9566 | 4.0853 | 1.1287
3.3717 | 3.0692 | 3.7709 | 0.70165
3.3795 | 3.0872 | 3.6049 | 0.51762
3.3933 | 3.1231 | 3.687 | 0.56391
3.42 | 3.1454 | 4.0283 | 0.88291
3.4705 | 3.0905 | 3.8737 | 0.78321
3.5047 | 3.1706 | 3.8743 | 0.70365
3.5085 | 3.203 | 3.7968 | 0.59378
3.5651 | 3.2884 | 3.7588 | 0.47044
3.587 | 3.2235 | 3.8945 | 0.67099
3.5921 | 2.9591 | 4.0593 | 1.1001
3.6003 | 3.3421 | 4.0314 | 0.68929
3.6048 | 3.1937 | 4.3276 | 1.134
3.641 | 3.2116 | 4.3211 | 1.1095
3.6553 | 3.4281 | 4.019 | 0.59096
3.6814 | 3.0125 | 4.332 | 1.3196
3.707 | 3.3508 | 4.1093 | 0.75851
3.7102 | 3.5064 | 3.9898 | 0.48346
3.7247 | 3.4882 | 3.8525 | 0.36428
3.7274 | 3.4213 | 4.1796 | 0.75831
3.7512 | 3.3418 | 4.3065 | 0.96472
3.7608 | 3.1439 | 4.1719 | 1.028
3.7703 | 3.3765 | 4.3455 | 0.969
3.7841 | 3.3663 | 4.4558 | 1.0895
3.8031 | 3.3422 | 4.6209 | 1.2787
3.8077 | 3.5961 | 4.0995 | 0.50342
3.8386 | 2.5244 | 4.2088 | 1.6844
3.8391 | 3.5063 | 4.1748 | 0.66858
3.8402 | 3.5511 | 4.4953 | 0.94423
3.882 | 3.3973 | 4.3846 | 0.98723
3.89 | 3.0605 | 4.761 | 1.7005
3.8949 | 3.5778 | 4.185 | 0.60723
3.9193 | 3.5051 | 4.6016 | 1.0965
3.9961 | 3.382 | 4.3889 | 1.0069
4.006 | 3.5597 | 4.5017 | 0.94205
4.0076 | 3.6329 | 4.4462 | 0.81334
4.0118 | 3.6682 | 4.4924 | 0.82421
4.0148 | 3.552 | 4.5016 | 0.94958
4.0344 | 3.7543 | 4.2761 | 0.52178
4.0616 | 3.7661 | 4.48 | 0.71388
4.0843 | 3.8395 | 4.2927 | 0.4532
4.0854 | 3.4615 | 4.752 | 1.2906
4.1443 | 3.4182 | 4.7983 | 1.3801
4.1688 | 3.7544 | 4.642 | 0.88761
4.1906 | 3.7265 | 4.5811 | 0.85466
4.2311 | 3.9759 | 4.4331 | 0.45718
4.2315 | 4.0256 | 4.4744 | 0.44877
4.2398 | 3.9213 | 4.8592 | 0.9379
4.2419 | 4.2244 | 4.4915 | 0.26709
4.2603 | 3.6544 | 5.1332 | 1.4788
4.2929 | 3.8374 | 4.7073 | 0.8699
4.303 | 3.9607 | 4.8302 | 0.86948
4.3165 | 3.7115 | 5.1526 | 1.4411
4.3234 | 3.9047 | 5.0601 | 1.1554
4.3446 | 3.7697 | 4.824 | 1.0543
4.3455 | 3.8016 | 5.3657 | 1.5641
4.3461 | 3.8354 | 5.3027 | 1.4673
4.3762 | 3.757 | 4.8762 | 1.1192
4.3975 | 4.137 | 5.0607 | 0.92371
4.4524 | 3.9292 | 5.4355 | 1.5063
4.4892 | 3.971 | 5.2386 | 1.2676
4.5019 | 3.9475 | 5.4106 | 1.4631
4.5074 | 3.964 | 7.0697 | 3.1057
4.5237 | 4.134 | 5 | 0.86593
4.5415 | 3.8958 | 5.3894 | 1.4936
4.5703 | 3.9839 | 5.4379 | 1.454
4.5858 | 4.0627 | 5.2318 | 1.1691
4.6627 | 4.2483 | 5.072 | 0.82362
4.6982 | 3.9881 | 5.4416 | 1.4535
4.9021 | 4.3924 | 5.8704 | 1.478
4.9698 | 4.5688 | 5.4109 | 0.84211
4.9905 | 3.8823 | 5.8151 | 1.9328
5.1056 | 4.3267 | 5.6077 | 1.2809
5.4103 | 4.9236 | 5.7994 | 0.87582
5.6485 | 4.652 | 7.2687 | 2.6167
5.8095 | 5.5569 | 6.0509 | 0.49402
5.9786 | 5.3327 | 6.6964 | 1.3637
6.7652 | 5.9248 | 7.0751 | 1.1503
6.8696 | 6.0877 | 8.092 | 2.0043 | 100

## Pricing by Efficiency
Installed Price Differences by Module Efficiency
Efficiency | Median | Low | High | Median | Low | High | Median | Low | High
16-17% | 3.4407 | 0.82874 | 0.99441 | Intentionally Blank
17-18% | 3.9154 | 0.80893 | 0.75777
18-19% | 3.8053 | 0.68848 | 0.81294
19-20% | 3.7254 | 0.68837 | 0.77132
20-21% | 3.6407 | 0.58043 | 0.67032
>21% | 3.9909 | 0.512 | 0.49505
16-17% | Intentionally Blank |  |  | 3.0049 | 0.60515 | 0.99061 | Intentionally Blank
17-18% |  |  |  | 3.3532 | 0.83996 | 0.96042
18-19% |  |  |  | 2.9387 | 0.53644 | 1.0009
19-20% |  |  |  | 2.9803 | 0.5942 | 0.95603
20-21% |  |  |  | 3.2319 | 0.55841 | 1.0336
>21% |  |  |  | 3.8033 | 1.0214 | 1.5141
16-17% | Intentionally Blank | [5 empty] | 2.2518 | 0.52403 | 0.87413
17-18% | [6 empty] | 2.3253 | 0.51411 | 0.72582
18-19% | [6 empty] | 2.1457 | 0.45958 | 0.49557
19-20% | [6 empty] | 2.2202 | 0.54288 | 1.0021
20-21% | [6 empty] | 2.9956 | 0.65707 | 0.82257
>21% | [6 empty] | 3.2625 | 0.66045 | 0.90652

## Pricing by Inverter Type
Installed Price Differences by Inverter Type
Year | Residential |  |  | Small Non-Residential |  |  | Small Non-Residential |  |  | x-axis labels
| Microinverter | DC Optimizer | No MLPE | Microinverter | DC Optimizer | No MLPE | Microinverter | DC Optimizer | No MLPE
2015 | 4.4681 | 4.2914 | 4.4965 | [6 empty] | Residential | 2015
2016 | 4.3337 | 4.123 | 4.2618
2017 | 4.1598 | 3.8539 | 3.8398
2018 | 3.9051 | 3.7726 | 3.7001
2019 | 3.7901 | 3.7771 | 3.7422 | [7 empty] | 2019
2015 |  |  |  | 4.1743 | 4.0071 | 3.7714 |  |  |  | Small Non-Residential | 2015
2016 |  |  |  | 3.9143 | 3.6913 | 3.549
2017 |  |  |  | 3.5249 | 3.3239 | 3.2313
2018 |  |  |  | 3.3478 | 3.1244 | 3.0317
2019 |  |  |  | 3.6056 | 3.0267 | 2.9946 |  |  |  |  | 2019
2015 | [7 empty] | 3.0734 | 3.1705 | Large Non-Residential | 2015
2016 | [6 empty] | 3.3865 | 2.81 | 2.7355
2017 | [6 empty] | 3.1108 | 2.6822 | 2.5806
2018 | [7 empty] | 2.6074 | 2.4617
2019 | [7 empty] | 2.476 | 2.3461 |  | 2019

## New Construction vs. Retrofit
Installed Price Differences between New Construction & Retrofits
Year | All sizes and technology configurations |  | 2-5 kW systems with premium-efficiency modules and microinverters |  | x-axis
| New Construction | Retrofit | New Construction | Retrofit
2015 | 4.1503 | 4.5809 |  |  | All sizes and technology configurations | 2015
2016 | 3.9444 | 4.3599
2017 | 4.6451 | 4.0459
2018 | 4.5462 | 3.8467
2019 | 4.4915 | 3.7942 |  |  |  | 2019
2015 |  |  |  | 5.8132 | 2-5 kW systems with premium-efficiency modules and microinverters | 2015
2016 |  |  | 3.9884 | 5.0623
2017 |  |  | 4.6453 | 4.4882
2018 |  |  | 4.5471 | 4.2942
2019 |  |  | 4.4924 | 4.2318 |  | 2019

## Pricing by Non-Res Segment
Installed Price Differences by Non-Residential Host Type
Year | Small Non-Residential |  | Large Non-Residential |  | x-axis labels
| Commercial | Tax-Exempt | Commercial | Tax-Exempt
2015 | 3.7111 | 4.1732 |  |  |  | 2015
2016 | 3.4995 | 3.8433
2017 | 3.1329 | 3.5767
2018 | 3.016 | 3.2292
2019 | 2.9773 | 3.3591 |  |  |  | 2019
2015 |  |  | 2.6735 | 3.3994 |  | 2015
2016 |  |  | 2.246 | 3.2034
2017 |  |  | 2.2108 | 3.4183
2018 |  |  | 2.0717 | 2.7744
2019 |  |  | 1.7897 | 3.4386 |  | 2019